## MCQ
SET-1 : Solar PV Installer - Electrical
| Center Name : |  |  | Student Name :
| Date : |  |  | Enrollment No:
c | Time Allowed : 60 minutes |  | Total Marks (MCQ) :108 |  |  | Marks Obtained (MCQ):
General Instructions : 1. Write the name and roll number in the space provided
2. After Completion Handover the paper to the Invigilator
3. All Questions are compulsory
4. Write the Correct option in the empty box provided
| Sl. No. | Question | Option A | Option B | Option C | Option D | NOS | PC | Marks | Correct Answer | Coreect Answer
SGJ/N0101 (Site Survey for installation of solar PV system)
| 1 | Which of the following factors you need to assess for optimizing route plan? | Location | Price of the solar PV system | Quality of Solar PV system | Both A&B | SGJ/N0101 | 1 | 1 | A
| 2 | For ensuring availibility of tools and materials at the time of solar PV installation one should assess_____________. | The quality of the system | Site level pre-requisites | Both A&B | None of the above | SGJ/N0101 | 2 | 1 | B
| 3 | Which of the following factors can influence the output given by a solar PV system? | Shading obstacles | Movement of sun | Placement of PV system | All of the above | SGJ/N0101 | 3 | 2 | D
| 4 | When installing a solar module on a roof, things to be considered are? | Obstructions on the roof. | The condition of the roof. | Far shading. | All of the above.
| 5 | What is solar module racking? | Photovoltaic cells | The difference between expected and actual output of the PV system | Photovoltaic mounting systems | Optimizing the energy produced by mixing different type of PV cells | SGJ/N0101 | 4 | 2 | C
| 6 | If any civil construction is required for solar PV installation, then you might have to inform which of the following people? | Customer | Supervisor | Govt. Authorities | All of the above | SGJ/N0101 | 5 | 2 | D
| 7 | To enhance light capture and for increasing energy production, which type of mounting should be constructed? | Solar trackers | Fixed mounting facing west | Fixed mounting | None of the above | SGJ/N0101 | 6 | 2 | A
| 8 | For calculating load to be run on the solar PV system, what type of equipment should be assessed? | Appliances using AC power | Appliances using DC power | Both A&B | Only batteries | SGJ/N0101 | 7 | 2 | C
| 9 | Battery charging and solar water pumping are the two main application 0f | Stand-Alone PV system | Hybrid PV system | Twin-supplied Pv system | Grid connected PV system
| 10 | How can knowledge of MS Excel can help to at your job? | It will help you write letters more precisely | It will help you prepare load chart on a spreadsheet | It will help you manage you mail more easily | It can help you make good presentations and slides | SGJ/N0101 | 8 | 2 | B
| 11 | Which of the following things can significantly affect the power generated by solar PV system? | Change in season | Sunlight observed | Both A&B | None of the above | SGJ/N0101 | 9 | 2
| 12 | Which part of a house receives majority of solar radiation? | Roof | Side walls | Floor | Doors
| 13 | In India PV panel should be ________. | North Facing | North and east facing | East facing | South facing |  |  |  | C
| 14 | Which has no effect on PV plant construction ? | Red soil | Wind speed | No rail communication | None of Them
| 15 | If the site is shaded from 11 AM to 2.00 PM what is the total available daily irradiation for the site? | 3.00 kWh/m2 | 2.30 kWh/m2 | 4.50 kWh/m2 | 3.30 kWh/m2
| 16 | When installing a solar module on a roof, things to be considered are? | Obstructions on the roof. | The condition of the roof. | Far shading. | All of the above.
| 17 | Which is not a part of Site feasibility study ? | Soil quality | Population of nearest city | Wind speed | Location
| 18 | Battery charging and solar water pumping are the two main application 0f | Stand-Alone PV system | Hybrid PV system | Twin-supplied Pv system | Grid connected PV system
| 19 | Which of the following area is preferred for solar thermal electric plants? | mountain tops | hot arid zones | coastal areas | high rainfall zones.
| 20 | Identify the factor which does not primarily influence the electrical design of the solar array? | The initial temperature | The load matching for maximum power | The sun angle | The sun intensity
| 21 | What is the importance of solar energy? | Environmental friendly | Saves your money | Low Maintenance and diverse applications | All of the above
| 22 | The solar photovoltaics efficiency varies between _____ | 20-40% | 9-70% | 45-60% | 8-40%
| 23 | Distance between two earth-pit should be _____ . | 1 meter | 2 Meter | 3 Meter | 5 Meter
| 24 | Which is not taken in to the consideration at the time of mounting structure design ? | String size | Roof | Tracking system | All of the above
| 25 | What is the main advantage of sunshine recorder? | It is more sophisticated than pyranometers and pyrheliometers | It is more expensive than pyranometers and pyrheliometers | It is less accurate but inexpensive | It is less accurate but extremely expensive
| 26 | A liquid flat plate collector is usually held tilted in a fixed position, facing ___ if located in the northern hemisphere. | North | South | East | West
| 27 | Which type of solar cell gives the highest efficiency? | Mono crystalline | Polycrystalline germanium | Thin film | Polycrystalline silicon
| 28 | In polycrystalline silicon solar cell which material is used as a raw material? | Silver | Copper | Liquid silicon | None of the above
| 29 | In a high rise building, LA is installed against _____ . | Lightening | Bird | Animals | Both A and B
| 30 | In a residential roof-top PV system, which is not taken in to the considiration ? | Nearest transmission grid | Load & load flow analysis | Roof area | Back up Hours
| 31 | Which of the following is the advantage of flate plate collectors of solar? | High water temperature is achieved | Tracking of sun | It utilizes both the beam as diffuse radiation for heating | small heat loss by conduction and radiation because of large area
| 32 | The Zenith Angle complement is ___ | Surface Azimuth Angle | Slope | Solar Altitude Angle | Solar Azimuth Angle
| 33 | What are the benefits of Rooftop Projects over Ground Mounted Projects? | Can be setup faster | Easier operation & maintenance | Local employment generation | Improvement in tail-end grid voltage
| 34 | The client has recommended a number of locations where the battery could be installed. Which location is the best location for the battery to be installed? | On the verandah in the sun. | In a battery box that is located on the verandah with ventilation inlets and outlet vents on opposite sides and removable lid that could be locked for security reasons | In a box in the bathroom with inlet and outlet vents to the room | Directly under the inverter and controller
| 35 | Identify the best location for the inverter from the list. | Inside a sealed box | Outside and exposed to sunshine | Near to, but not directly above, the battery | On the battery
| 36 | Which is not taken in to the consideration at the time of mounting structure design ? | String size | Roof | Tracking system | All of the above
| 37 | What is the typical area required for a 1 MW Solar system | 1 - 2 Acre | 0.5 - 1 Acre | 4 - 8 Acre | 10 - 20 Acre
| 38 | Which type of solar cell gives the highest efficiency? | Mono crystalline | Polycrystalline germanium | Thin film | Polycrystalline silicon
| 39 | Minimum distance between two fixed modules should be ___ . | 250mm | 20mm | 5mm | 2mm
| 40 | A solar roof constructed on a building uses water stored ______ to temper hot and cold internal temperatures of the building. | on building roofs | on building walls | beneath building floors | on an auxiliary building
| 41 | Which of the following area is preferred for solar thermal electric plants? | mountain tops | hot arid zones | coastal areas | high rainfall zones.
| 42 | Components used in Solar Photovoltaic Plant: | Battery (Optional) | ACDB and DCDB | Inverter | All of the above
| 43 | The lifetime of PV system is: | long | short | medium. | Can't say
| 44 | At the first point of Aeries, the sun moves | Northward | Southward | From south to north of the equator | From north to south of the equator
| 45 | The angle between the direction of star and the direction of earth's axis of rotation is called | Co-declination | Co-latitude | Declination | Latitude
| 46 | Energy production from PV systems deponds on: | location | Weather | Both A & B | None of the above
| 47 | The running cost of PV systems is: | High | Low | Medium. | None
| 48 | The deficiency of polycrystalline silicon solar cell is ____ | Less than monocrystalline silicon solar cell | Higher than monocrystalline silicon solar cell | Equal to monocrystalline Si solar cell | None of the above
| 49 | What are the advantages of the solar cells? | Maintenance is very low | No pollution | Maintenance is very high | Both a and b
| 50 | Which is the key of efficiency in PV plant. | Well design | Proper Cleaning & maintenance | Procurement | All of the above
| 51 | IEC 61215 is the standard for_____ . | Thinfilm module | Poly crystaline module | Mono crystaline Module | Both B and C
| 52 | What is aperture area in a solar collector? | Area of the system | Area in the receiver that receives the solar radiation | Area occupied by the system after installation | Cross-sectional area of the receiver
| 53 | A solar thermal collector | collects solar energy and reflects it back | absorbs the solar radiation and dissipates it to the ambient | collects and converts solar energy into electrical energy | collects and converts the solar energy into thermal energy and delivers it to the next stage of the system
| 54 | What are the components of a flat plate collector? | Flat box, a plate with reflective coating and fluid circulation passageways, an opaque cover, a circulating fluid | Flat box, a dark coloured plate with fluid circulation passageways, an opaque, a circulating fluid | Flat box, a dark coloured plate with fluid circulation passageways, a transparent cover | Flat box, a dark coloured plate fluid circulation passageways, a transparent cover, a circulating fluid
| 55 | Which of the following is the advantage of flate plate collectors of solar? | High water temperature is achieved | Tracking of sun | It utilizes both the beam as diffuse radiation for heating | small heat loss by conduction and radiation because of large area
| 56 | Which is not a correct option for thermo-electric solar power system? | Tower type solar plant | Concentrator collector solar plant | Flat plate collector solar plant | Photo-voltaic solar plant
| 57 | Identify the factor which does not primarily influence the electrical design of the solar array? | The initial temperature | The load matching for maximum power | The sun angle | The sun intensity
| 58 | Battery charging and solar water pumping are the two main application 0f | Stand-Alone PV system | Hybrid PV system | Twin-supplied Pv system | Grid connected PV system
| 59 | The deficiency of polycrystalline silicon solar cell is ____ | Less than monocrystalline silicon solar cell | Higher than monocrystalline silicon solar cell | Equal to monocrystalline Si solar cell | None of the above
| 60 | The first generation of solar cell consists of ____ | Large area | High quality | Single junction devices | All of the above
| 61 | Site hand over should be done with _______. | In the presence of Electrical inspector | Proper Documentation & check lists | Both A & B | None of the above
| 62 | In which collector the efficiency is maximum ___ | Flat Plate | Line Focusing | Evacuated Tube | Paraboloid Dish
| 63 | Which Meter is used to measure the Beam Radiations ____ | Pyrheliometer | Sunshine Recorder | Anemometer | All of the above
| 64 | Which is not a correct option for thermo-electric solar power system? | Tower type solar plant | Concentrator collector solar plant | Flat plate collector solar plant | Photo-voltaic solar plant
| 65 | Identify the factor which does not primarily influence the electrical design of the solar array? | The initial temperature | The load matching for maximum power | The sun angle | The sun intensity
| 66 | Which of the following is not used in a passive solar heating/cooling system? | Building walls | Building roofs | Air conditioners | Building floors
| 67 | Battery charging and solar water pumping are the two main application 0f | Stand-Alone PV system | Hybrid PV system | Twin-supplied Pv system | Grid connected PV system
| 68 | The types of solar cells based on the crystal structure are ___ | Single crystal | Polycrystalline | Amorphous | All of the above
| 69 | Battery bank shouldn't be installed in a location . | Near PV array | Well ventilated room | Near control room | At high temperature area
| 70 | In Solar PV system, what does PR stands for ______ . | Project Report | Project Review | Performance Ratio | Performance Review
| 71 | Which is important to deal with customer? | Tech. Knowledge | Confidence | Positive approach | All of the above
| 72 | What is the irradiation proportional to in thermopile technology? | Difference between sun exposed area and shadow area | Difference between temperature of sun exposed area and shadow area | Difference between temperature of sun exposed area and temperature of shadow area | Difference between of sun exposed area and temperature of shadow area
| 73 | What does BOM Stand for? | Block of the Month | Board of Managers | Bill Of Materials | Business Object Model
| 74 | To perform irradiance measurement, which of the following is necessary? | Beam response varies with sine of the angle of incidence | Beam response varies linearly with angle of incidence | Beam response is constant with varying angle of incidence | Beam response varies with cosine of the angle of incidence
| 75 | …….converts sunlight directly into solar power (electricity). | battery | solar cell. | inverter. | ACDB & DCDB
| 76 | All the electricity produced by the solar panels is produced as: | AC. | DC. | Both A & B | None
| 77 | The device which converts the DC to AC is: | transformer | relay. | inverter. | None
| 78 | Thermopile is a collection of _______ | thermocouples connected in parallel | thermocouples connected in series | reflectors connected in series | reflectors connected in parallel
| 79 | What is a solar collector? | A system to collect heat by absorbing sunlight | A system to collect rainwater using sunlight | A system to collect electricity by using sunlight | A device to reflect sunlight back
| 80 | Which of the following type of collector is used for low temperature systems? | Flat plate collector | Line focussing parabolic collector | Paraboloid dish collector | All of the above
| 81 | Why should the beam response vary with cosine of the angle of incidence? | To account for perpendicular and parallel rays | Because cosine is the simplest mathematical function | To account for inclination of earth’s axis | Because of non-uniform dispersion of solar radiation
| 82 | Poly-crystalline cells also known as malty-crystalline cells. | Yes | No | Can be yes or no | Can not say
| 83 | The solar radiation range in ultraviolet is about ___ | 4-5% | 3-5% | 0-3% | None of the above
| 84 | Active solar is directly consumed in activities such as drying clothes and warming of air | Passive solar | Simple solar | Active solar | None of the above
| 85 | The total efficiency of the solar thermal power plant is divided into ____ | Receiver efficiency | Generator efficiency | Both a and b | None of the above
| 86 | The power factor of a SCIM generally is | 1-.2 | 6-.8 | 3-.4 | 5-.7
| 87 | SCIM has a | Shorter life | Medium life | Longer life | Infinite life
| 88 | The slope of the V-I curve of a solar cell is 66.1°. Calculate the value of resistance. Assume the relationship between voltage and current is a straight line. | 3.5 Ω | 2.2 Ω | 2.5 Q | 2.9 Ω
| 89 | Calculate the line voltage in star, connection when phase voltage=311V | 548.29 V | 538.66 V | 587.28 V | 185.58 V
| 90 | The crystalline silicon technology gives ____ types of photovoltaic cells. | 1 | 2 | 3 | 4
| 91 | In Solar Panel, which is the top cover and is transparent to allows light to enter? | Non-reflective layer | Contact grid | Back plate | Cover glass
| 92 | The zenith angle is the angle made by the sun’s rays with the __ to a __ surface. | normal, horizontal | tangent, horizontal | normal, vertical | tangent, vertical
| 93 | Interactive PV systems operate: | stand alone | in parallel with the grid. | Both A & B | None
| 94 | Which part of a house receives majority of solar radiation? | Roof | Side walls | Floor | Doors
| 95 | How should a lead acid battery bank be installed? | In a battery box inside a building with the ventilation outlet at the highest point on the box to the inside of the building... | In a dedicated room with the with the ventilation outlet vented to the outside at the highest point in the room. | In a dedicated room with the with the ventilation outlet vented to the outside at the lowest point in the room | Any of the above
| 96 | The first generation of solar cell consists of ____ | Large area | High quality | Single junction devices | All of the above
SGJ/N0104 (Install Electrical components of Solar PV System)
| 97 | Why it is important to clarify the maximum working voltage? | To find help if any hazard occurs | To be aware about all the risks involved | To ensure hazards will affect only the PV system and not the installer | All of the above | SGJ/N0104 | 2 | 3 | B
| 98 | Which of the following equipment should be inspected and tested on regular basis? | Safety equipment | Testing equipment | Monitoring equipment | All of the above | SGJ/N0104 | 6 | 4 | D
| 99 | What is AC/DC? | Alternating Current/Direct Current | Alternative Current/ Directive Current | Alter Current/ Drawn Current | None of the above | SGJ/N0104 | 9 | 4 | A
| 100 | _____________ is a device that integrates the output of multiple strings of PV modules for connection to the inverter. | PV array | The combiner box | PV battery | PV cells | SGJ/N0104 | 10 | 4 | B
| 101 | What will you do immediately after installing battery interconnection cables? | Select PPE | Select the location of DC combiner box | Apply anti-oxidant material | Both B&C | SGJ/N0104 | 36 | 4 | C
| 102 | Why it is important to check cables? | For continuity | To locate underground hazards | For maximum working voltage | All of the above | SGJ/N0104 | 27 | 4 | A
| 103 | SPD is used for ______ . | Over Current Protection | Over Voltage Protection | Surge Protection | Single Pole protection
| 104 | Which of the following methods is recommended for attaching an array frame to the supporting structure? | Using suitable screws through the mounting feet of the array through the metal roof into the rafters under the roof. | Using appropriate roof tile brackets that slide under the tile, are screwed or bolted onto the rafter and the array frame bolts to the appropriate location on the bracket. | Using plastic cable ties. | Both a and b.
| 105 | A battery bank consists of twelve 2 V cells. Two were faulty and were replaced. What test should not be performed when system is reconnected? | Polarity of the battery bank. | Voltage of each cell | Overall battery bank voltage. | All of the above
| 106 | which is important in commercial & financial calculation of a Solar PV project. | Pay back period | Net metering | Open access | Operating Procedure
| 107 | What should be done with fine stranded cables after installing the battery bank? | Leave them as it is | Connect them with PV modules | Both A&B | Terminate them | SGJ/N0104 | 37 | 4 | D
| 108 | Before getting the grounding system installed, which of the following things should be verified? | Grounding conductor size | Any underground hazard | Both A&B | None of the above | SGJ/N0104 | 30 | 4 | C
| 109 | Which of the following things can help you identify tools and materials required for certain task more easily? | Proper knowledge of techniques | Proper labelling | Awareness about work procedures | All of the above | SGJ/N0104 | 28 | 4 | D
| 110 | You are not required to install grounding system for which of the following things? | DC meters | Modules | Mounting system | Inverters | SGJ/N0104 | 31 | 4 | A
| 111 | Identify the best location for the inverter from the list. | Inside a sealed box | Outside and exposed to sunshine | Near to, but not directly above, the battery | On the battery
| 112 | In a high rise building, LA is installed against _____ . | Lightening | Bird | Animals | Both A and B
| 113 | Battery bank shouldn't be installed in a location . | Near PV array | Well ventilated room | Near control room | At high temperature area
| 114 | The process of converting light (photons) to electricity (voltage) is called: | PV effect | solar cell | radiation. | Both A and B
| 115 | Distance between two earth-pit should be _____ . | 1 meter | 2 Meter | 3 Meter | 5 Meter
| 116 | What is the typical area required for a 1 MW Solar system | 1 - 2 Acre | 0.5 - 1 Acre | 4 - 8 Acre | 10 - 20 Acre
| 117 | Which of the following is not used in a passive solar heating/cooling system? | Building walls | Building roofs | Air conditioners | Building floors
| 118 | Battery bank shouldn't be installed in a location . | Near PV array | Well ventilated room | Near control room | At high temperature area
| 119 | The minimum voltage rating of a protection device in a PV system must be equal to: | Array Voc at midday on a hottest expected day | 2 x module Vmpp | Array Voc at coldest temperature for the site | Isc x Voc
| 120 | What are the drawbacks of using solar cells? | Very expensive | Efficiency is low | Wire which is used for connections is made up of silver material | All of the above
| 121 | Which is not a correct option for thermo-electric solar power system? | Tower type solar plant | Concentrator collector solar plant | Flat plate collector solar plant | Photo-voltaic solar plant
| 122 | Following are the most common solar cell types using silicon semicoundctor material except | Tetra-crystalline Si cell | Polycrystalline Si cell | Mono-crystalline Si cell | Amorphous Si cells
| 123 | Which of the following best describes the measurement process in a pyrheliometer? | Sunlight → window in pyrheliometer → thermopile → heat is converted to electrical signal → recorded | Sunlight → window in pyrheliometer → heat is converted to electrical signal → thermopile → recorded | Window in pyrheliometer → sunlight → thermopile → heat is converted to electrical signal → recorded | Sunlight → heat is converted to electrical signal → window in pyrheliometer → thermopile → recorded
| 124 | The current density of a photo voltaic cell ranges from | 10 – 20 mA/cm2 | 40 – 50 mA/cm2 | 20 – 40 mA/cm2 | 60 – 100 mA/cm2
| 125 | MPPT stands for ____. | Maximum Power point Temperature | Maximum Power Produce Temperature | Maximum Power Point Tracker | Mimimum Power Produce Temperature
| 126 | Identify the best location for the inverter from the list. | Inside a sealed box | Outside and exposed to sunshine | Near to, but not directly above, the battery | On the battery
| 127 | Which one of the following is an overcurrent protection device? | Isolator | Combiner box | gPV fuse | Terminal block
| 128 | How should a lead acid battery bank be installed? | In a battery box inside a building with the ventilation outlet at the highest point on the box to the inside of the building... | In a dedicated room with the with the ventilation outlet vented to the outside at the highest point in the room. | In a dedicated room with the with the ventilation outlet vented to the outside at the lowest point in the room | Any of the above
| 129 | The system you are installing includes an MPPT and the solar array will comprise five (5) 60 cell solar modules in series. Each solar module has an open circuit voltage of 35V and short circuit current of 7A. What is the electrical danger with this system? | There are 5 modules that must be lifted onto the roof. | The MPPT must be wired correctly | The solar array is rated at 175V DC open circuit and hence LV | The MPPT must be connected to a battery bank
| 130 | What is function of inverter? | Conversion of AC to DC | Conversion of DC to AC | Amplifying the sound | Step up the voltage
| 131 | In a string Modules are connected in | Parallel | As per customer requirement | Series | Series and Parallel
| 132 | It can be protected by Charge Controller. | Light | Module | Battery | All the above
| 133 | Importance of blocking diode is | It blocks the reverse current | It blocks the flow of extra current | Both A & B | It protects the equipment against surge
| 134 | Which is a part of Solar PV system | AC combiner box | Pyranometer | MC4 connector | All of the above
| 135 | Which of these is the best material for eathing ? | Silver | Copper | GI | Iron
| 136 | P-N Junction solar cell, P-type semiconductor is connected to | Cathode | Anode | triode | Diode
| 137 | What are the benefits of Rooftop Projects over Ground Mounted Projects? | Can be setup faster | Easier operation & maintenance | Local employment generation | Improvement in tail-end grid voltage
| 138 | At the first point of Aeries, the sun moves | Northward | Southward | From south to north of the equator | From north to south of the equator
| 139 | P-N Junction solar cell, N-type semiconductor is connected to | Cathode | Anode | triode | Diode
| 140 | ......is one of the most important materials is also known as solar grade silicon. | Crushed silicon | Crystalline silicon | Powdered silicon | Silicon
| 141 | The cable from the solar array will be mounted directly on the wall and exposed to direct sunlight. The maximum current will be 18 A, using table 9 what is the minimum size cable that selected to ensure it meets the current carrying capacity? | 4 mm2 | 6 mm2 | 10 mm2 | 10 mm2
| 142 | Which of the following methods is recommended for attaching an array frame to the supporting structure? | Using suitable screws through the mounting feet of the array through the metal roof into the rafters under the roof. | Using appropriate roof tile brackets that slide under the tile, are screwed or bolted onto the rafter and the array frame bolts to the appropriate location on the bracket. | Using plastic cable ties. | Both a and b.
| 143 | A string cable requires overcurrent protection, what should be the maximum rating of the protective device if the short circuit current for the module in the string is 6.8 A and the reverse current is 14 A? | 13.6 A | 8.75 A | 6.8 A | 14 A
| 144 | Cables terminated on the flooded lead acid battery banks should be? | Bolted to the battery terminals using suitable lugs with insulation covers over the terminals. | Bare wire wrapped around the terminals and covered in grease. | Run via the shortest route over the filler/inspection caps. | Connected with crocodile /alligator clips for easy disconnection.
| 145 | The system is 24 V DC with a standard solar charge controller. Which of the following is NOT what you do first when disconnecting the system for maintenance purposes? | Turn off the AC isolator on the inverter | Undo the cable connection to the battery positive or battery negative terminal first. | Turn off the loads in the house | Turn off or open the PV array isolating device
| 146 | What is the basic component of the PV system (Photovoltaic system)? | Battery | Charge collector | Solar cell | All of the above
| 147 | A continuity and polarity test shall be performed on the DC system. What should NOT be done when performing this test? | Confirming that all modules that are connected in parallel are connected with the correct polarity. That is positive to positive and negative to negative. | Measuring the continuity between the inverter input positive and negative input terminals to ensure the polarity and voltage are correct. | Confirming that the positive cable of the array connects to the terminal marked solar positive on the solar controller. | Confirming that positive of the battery is connected to the terminal marked battery positive on the solar charge controller
| 148 | PV Module generates electricity in ________ . | AC | DC | As per requirement | None of them
| 149 | In battery bank room construction, which is taken in to the priority ? | Dust free area | Ventilation | Cleanness | All of the above
| 150 | If the orientation of PV module changes from horizontal to vertical,Tilt angle will _______. | Change | Remain same | Depends | Can't say
| 151 | If the monitoring of the system shows that over time the batteries are reducing in state of charge, what could be the cause and rectification plan? | There are corroded connections in the wiring inducing voltage drop. Visual and meter checks | The end-user has increased their loads and load management and the design load needs to be emphasized. | The modules are becoming dirty and more regular cleaning is required. | Any/all of the above
| 152 | Which Meter is used to measure the Beam Radiations ____ | Pyrheliometer | Sunshine Recorder | Anemometer | All of the above
| 153 | The Zenith Angle complement is ___ | Surface Azimuth Angle | Slope | Solar Altitude Angle | Solar Azimuth Angle
| 154 | A module in a solar panel refers to | Series arrangement of solar cells. | Parallel arrangement of solar cells. | Series and parallel arrangement of solar cells. | None of the above.
| 155 | What information would NOT be provided on the equipment in a system documentation? | Brand and manufacturer. | Serial number | The number of products sold that year | Model.
| 156 | Anti Islanding is used _______ . | in Module for protection | In Combiner box for protection | In MPPT for protection | In Inverter for protection.
| 157 | Thermopile is a collection of _______ | thermocouples connected in parallel | thermocouples connected in series | reflectors connected in series | reflectors connected in parallel
| 158 | Which of the following methods is recommended for attaching an array frame to the supporting structure? | Using suitable screws through the mounting feet of the array through the metal roof into the rafters under the roof. | Using appropriate roof tile brackets that slide under the tile, are screwed or bolted onto the rafter and the array frame bolts to the appropriate location on the bracket. | Using plastic cable ties. | Both a and b.
| 159 | Most widely used solar material is | Arsenic | Cadmium | Silicon | Steel
| 160 | The system you are installing includes an MPPT and the solar array will comprise five (5) 60 cell solar modules in series. Each solar module has an open circuit voltage of 35V and short circuit current of 7A. What is the electrical danger with this system? | There are 5 modules that must be lifted onto the roof. | The MPPT must be wired correctly | The solar array is rated at 175V DC open circuit and hence LV | The MPPT must be connected to a battery bank
| 161 | P-type semiconductor are the majority carriers. | Holes | Elelctrons | Neutrons | All of the above
| 162 | What are the materials required for the construction of solar cells? | P-type material | N-type material | Both a and b | None of the above
| 163 | Bypass diode has overcome the effect of | Short circuit | Shading | Temperature rise | Over voltage
| 164 | Aperture area of a solar collector is roughly equal to _______ | Coolant area | Generator area | Absorber area | System area
| 165 | A LED lamp rated 9 W is on for 40 minutes and TV of 60 W is on for 2 hours. How much energy has been used? | 69 Wh | 360 Wh | 126 Wh | 960 Wh
| 166 | Photovoltaic cell or solar cell converts........ | Thermal energy into electricity | Electromagnetic radiation directly into electricity | Solar radiation into thermal energy | Solar radiation into kinetic energy
| 167 | The efficiency of the poly crystalline silicon solar cell is about ____ | 14-17% | 12-17% | 13-15% | None of the above
| 168 | The semiconductor is the part of the solar cell that has ____ | One layer | Two layers | Three layers | None of the above
| 169 | How should a lead acid battery bank be installed? | In a battery box inside a building with the ventilation outlet at the highest point on the box to the inside of the building... | In a dedicated room with the with the ventilation outlet vented to the outside at the highest point in the room. | In a dedicated room with the with the ventilation outlet vented to the outside at the lowest point in the room | Any of the above
| 170 | In which collector the efficiency is maximum ___ | Flat Plate | Line Focusing | Evacuated Tube | Paraboloid Dish
| 171 | Distance between two earth-pit should be _____ . | 1 meter | 2 Meter | 3 Meter | 5 Meter
| 172 | ......is one of the most important materials is also known as solar grade silicon. | Crushed silicon | Crystalline silicon | Powdered silicon | Silicon
| 173 | Turn around efficiency of battery energy storage system is around | 75 percent | 50 percent | 25 percent | 10 percent.
| 174 | As a system, actinometer is a _____ or _______ | chemical system or physical device | chemical system or thermal device | thermal device or mechanical device | thermo-mechanical system or physical device
| 175 | In Solar PV system, what is used to generate electricity | Heat | Light | Both A & B | Can't say
| 176 | In Net-metering, bidirectional meter is used to measure ______. | Excess power export | Powe import | Both A & B | None of the above
| 177 | Which type of solar cell gives the highest efficiency? | Mono crystalline | Polycrystalline germanium | Thin film | Polycrystalline silicon
| 178 | Battery charging and solar water pumping are the two main application 0f | Stand-Alone PV system | Hybrid PV system | Twin-supplied Pv system | Grid connected PV system
| 179 | Components used in Solar Photovoltaic Plant: | Battery (Optional) | ACDB and DCDB | Inverter | All of the above
| 180 | The lifetime of PV system is: | long | short | medium. | Can't say
| 181 | To insure that your PV system will work all the day you should use: | converter | battery | Both A & B | None
| 182 | The running cost of PV systems is: | High | Low | Medium. | None
| 183 | Which one of the following is an overcurrent protection device? | Isolator | Combiner box | gPV fuse | Terminal block
| 184 | Photodiode works on the principle of _______ | photoelectric effect | LED | thermocouple | differential resistance
| 185 | ......photo voltaic devices in the form of thin films. | Cadmium Telluroide | Cadmium oxide | Cadmium sulphide | Cadmium sulphate
| 186 | A string cable requires overcurrent protection, what should be the maximum rating of the protective device if the short circuit current for the module in the string is 6.8 A and the reverse current is 14 A? | 13.6 A | 8.75 A | 6.8 A | 14 A
| 187 | The efficiency of amorphous silicon solar cell is about ____ | 5-7% | 15-19% | 16-18% | None of the above
| 188 | ......is one of the most important materials is also known as solar grade silicon. | Crushed silicon | Crystalline silicon | Powdered silicon | Silicon
| 189 | The top layer of the semiconductor in the solar cell consists of ___ | Silicon | Phosporous | Silicon and phosphorous | All of the above
| 190 | A DC load is connected to 24 V and the current is 2 A. What is the power of the load? | 24 W | 48 W | 12 W | 26 W
| 191 | I have a 230 V AC appliance that is rated 600 Watts however it requires a surge current of 4 amps and the inverter we are selecting is rated at unity power factor. You have four inverters with surge ratings below to choose from, which inverter you would select to operate this appliance? | 600 Watts (600VA) | 2400 Watts (2400VA) | 300 Watts (300VA) | 1000 Watts (1000 VA)
| 192 | All the electricity produced by the solar panels is produced as: | AC. | DC. | Both A & B | None
| 193 | …….converts sunlight directly into solar power (electricity). | battery | solar cell. | inverter. | ACDB & DCDB
| 194 | The angle between the direction of star and the direction of earth's axis of rotation is called | Co-declination | Co-latitude | Declination | Latitude
| 195 | What are the parts of solar energy? | Visible | Infrared | Ultraviolet | All of the above
| 196 | The first generation of solar cell consists of ____ | Large area | High quality | Single junction devices | All of the above
| 197 | Identify the best location for the inverter from the list. | Inside a sealed box | Outside and exposed to sunshine | Near to, but not directly above, the battery | On the battery
| 198 | What is the importance of solar energy? | Environmental friendly | Saves your money | Low Maintenance and diverse applications | All of the above
| 199 | The solar photovoltaics efficiency varies between _____ | 20-40% | 9-70% | 45-60% | 8-40%
| 200 | A liquid flat plate collector is usually held tilted in a fixed position, facing ___ if located in the northern hemisphere. | North | South | East | West
| 201 | 5-Which type of solar cells is more efficient in low lights: | AMORPHOUS | POLYCRYSTALLINE | MONOCRYSTALLINE. | None of them
| 202 | Interactive PV systems operate: | stand alone | in parallel with the grid. | Both A & B | None
| 203 | The device which converts the DC to AC is: | transformer | relay. | inverter. | None
| 204 | The most expensive type of the solar cells is: | AMORPHOUS | POLYCRYSTALLINE | MONOCRYSTALLINE. | None of them
| 205 | …….converts sunlight directly into solar power (electricity). | battery | solar cell. | inverter. | ACDB & DCDB
| 206 | Which of the following area is preferred for solar thermal electric plants? | mountain tops | hot arid zones | coastal areas | high rainfall zones.
| 207 | What does the word photovoltaic mean? | Sun Powered | Light - Cell | Light - Electricity | Solar - Energy
| 208 | What is the risk when connecting batteries together? | The voltage is increasing. | There is current going into the batteries. | Someone might short the terminals | The batteries might fall over
| 209 | Which of the following is NOT one of the fiel of application of photoelectric cell? | Street lightning | Reproduction of light in motion picture | Burglar arms | Counting machines.
| 210 | What is the metal sheet absorber surrounded with in an evacuated flat plate collector? | Low volume inside flat envelope | Low vacuum inside curved envelope | High vacuum inside flat envelope | Low vacuum inside thick curved envelope
| 211 | From the sun the solar energy is radiated in the form of _____ waves | Electromagnetic waves | Infrared waves | Transverse waves | None of the above
| 212 | The solar energy directly used for __ | Drying | Water heating | Distillation | All of the above
| 213 | The energy which is stored as latent heat is called as ___ energy | Mechanical energy | Electrical energy | Thermal energy | None of the above
| 214 | The solar heater function is to convert the solar energy in to ____ | Radiation | Electrical Energy | Thermal Energy | None of the above
| 215 | Which cell is used to converts solar energy directly into electrical energy ____ | Dry cell | Photoelectric cell | Battery | None of the above
| 216 | The low temperature in the concentrating solar technologies divided into how many parts? | One | Two | Three | Four
| 217 | lose more heat to the environment than evacuated-tube solar collectors. | Photovoltaics | Solar stills | Solar air conditioners | Flat-plate collectors
| 218 | For better efficiency, solar collectors do not coat their transparent cover with an anti-reflective coating. | TRUE | FALSE | Not Sure | Some are right
| 219 | Identify the best location for the inverter from the list. | Inside a sealed box | Outside and exposed to sunshine | Near to, but not directly above, the battery | On the battery
| 220 | Which one of the following is an overcurrent protection device? | Isolator | Combiner box | gPV fuse | Terminal block
| 221 | The minimum voltage rating of a protection device in a PV system must be equal to: | Array Voc at midday on a hottest expected day | 2 x module Vmpp | Array Voc at coldest temperature for the site | Isc x Voc
| 222 | Which is a cause of degredation of module? | Aging | Cleanness | Earthing | All of the above
| 223 | Transformer is used to __________ . | Step up the Voltage | Step down the voltage | Both A & B | To store Electricity
| 224 | What information would NOT be provided on the equipment in a system documentation? | Brand and manufacturer. | Serial number | The number of products sold that year | Model.
| 225 | If the monitoring of the system shows that over time the batteries are reducing in state of charge, what could be the cause and rectification plan? | There are corroded connections in the wiring inducing voltage drop. Visual and meter checks | The end-user has increased their loads and load management and the design load needs to be emphasized. | The modules are becoming dirty and more regular cleaning is required. | Any/all of the above
| 226 | The low temperature in the concentrating solar technologies divided into how many parts? | Silicon | Boron | Silicon and boron | All of the above
| 227 | Certain metals become super conducting when cooled below | melting point | transition temperature | 00 K | 00 C
| 228 | Identify the adjacent figure | solar cell | solar module | solar array | none of the above
| 229 | The process of adding impurity to silicon is known as | Doping | Imparting | Bombarding | Injecting
| 230 | Identify the adjacent module configuration. | Monocrystalline | Polycrystalline | Thin film | Any other
| 231 | 16 The collection efficiency of Flat plate collector can be improved by | putting a selective coating on the plate | evacuating the space above the absorber plate | both (A) and (B) | None of the above
| 232 | Which of the following type of collector is used for low temperature systems? | Flat plate collector | Line focussing parabolic collector | Paraboloid dish collector | All of the above
| 233 | The zenith angle is the angle made by the sun’s rays with the __ to a __ surface. | normal, horizontal | tangent, horizontal | normal, vertical | tangent, vertical
| 234 | Which of the following type of collector is used for low temperature systems? | Flat plate collector | Line focussing parabolic collector | Paraboloid dish collector | All of the above
| 235 | To perform irradiance measurement, which of the following is necessary? | Beam response varies with sine of the angle of incidence | Beam response varies linearly with angle of incidence | Beam response is constant with varying angle of incidence | Beam response varies with cosine of the angle of incidence
| 236 | Why should the beam response vary with cosine of the angle of incidence? | To account for perpendicular and parallel rays | Because cosine is the simplest mathematical function | To account for inclination of earth’s axis | Because of non-uniform dispersion of solar radiation
| 237 | The crystalline silicon technology gives ____ types of photovoltaic cells. | 1 | 2 | 3 | 4
| 238 | If temperature rises, then Voltage of PV Module | Increases | Decreases | Remains same | It will remain same for certain temperature, then it 'll decrese
| 239 | A battery bank consists of twelve 2 V cells. Two were faulty and were replaced. What test should not be performed when system is reconnected? | Polarity of the battery bank. | Voltage of each cell | Overall battery bank voltage. | All of the above
| 240 | Infrared radiations gives ______ energy | Light energy | Heat energy | Both a and b | None of the above
| 241 | The Infrared radiations, visible radiations and small amount of ultraviolet radiations are collectively known as ______ energy | Light energy | Heat energy | Solar energy | None of the above
| 242 | The total efficiency of the solar thermal power plant is divided into ____ | Receiver efficiency | Generator efficiency | Both a and b | None of the above
| 243 | Transformer is used to __________ . | Step up the Voltage | Step down the voltage | Both A & B | To store Electricity
| 244 | The life of a lead acid battery is expected to be | 2 - 5 Year | 1 - 2 year | 5 - 10 Year | 20 - 25 Year
| 245 | Solar energy is harvested by ____________ to produce energy | chloroplast | ribosomes | mitochondria | cell membrane
| 246 | Which is a passive form of solar energy? | Distilling | Thermosiphon | Albedo. | Greenhouse effect.
| 247 | What are the components of a flat plate collector? | Flat box, a plate with reflective coating and fluid circulation passageways, an opaque cover, a circulating fluid | Flat box, a dark coloured plate with fluid circulation passageways, an opaque, a circulating fluid | Flat box, a dark coloured plate with fluid circulation passageways, a transparent cover | Flat box, a dark coloured plate fluid circulation passageways, a transparent cover, a circulating fluid
| 248 | Why is a transparent cover used in a flat plate collector? | To maximize transmission of the incident sunlight into the box | To minimize transmission of the incident sunlight into the box | To entirely reflect the incident sunlight back | To ensure partial transmission of the incident sunlight into the box
| 249 | Evacuated flat-plate solar collectors are a type of _______ | concentrating collectors | photovoltaic technology | non-concentrating collectors | solar stills
| 250 | Transformer is used to __________ . | Step up the Voltage | Step down the voltage | Both A & B | To store Electricity
| 251 | What is function of inverter? | Conversion of AC to DC | Conversion of DC to AC | Amplifying the sound | Step up the voltage
| 252 | The process of adding impurity to silicon is known as | Doping | Imparting | Bombarding | Injecting
| 253 | Batteries used for electrical energy storage are | Laclanche cells | Edison cells | Lead acid cells | Any of the above.
| 254 | Which is a circuit breaker ? | MCB | MCCB | ACB | All of them
| 255 | The life of a lead acid battery is expected to be | 2 - 5 Year | 1 - 2 year | 5 - 10 Year | 20 - 25 Year
| 256 | Anti Islanding is used _______ . | in Module for protection | In Combiner box for protection | In MPPT for protection | In Inverter for protection.
| 257 | What information would NOT be provided on the equipment in a system documentation? | Brand and manufacturer. | Serial number | The number of products sold that year | Model.
| 258 | Which is a passive form of solar energy? | Distilling | Thermosiphon | Albedo. | Greenhouse effect.
| 259 | Most widely used solar material is | Arsenic | Cadmium | Silicon | Steel
| 260 | What is the fundamental unit of solar time? | Seconds | Day | Hour | Meter
| 261 | What are the advantages of the solar cells? | Maintenance is very low | No pollution | Maintenance is very high | Both a and b
| 262 | What is the basic component of the PV system (Photovoltaic system)? | Battery | Charge collector | Solar cell | All of the above
| 263 | The top layer of the semiconductor in the solar cell consists of ___ | Silicon | Phosporous | Silicon and phosphorous | All of the above
| 264 | A battery bank consists of twelve 2 V cells. Two were faulty and were replaced. What test should not be performed when system is reconnected? | Polarity of the battery bank. | Voltage of each cell | Overall battery bank voltage. | All of the above
| 265 | What would be recorded in a maintenance logbook for a system comprising individual 2V wet lead acid batteries and a solar array? | Individual battery voltages | Date the modules were cleaned. | Specific gravity readings for each battery cell. | All of the above.
| 266 | The system comprises a large wet lead acid battery bank containing twenty four (24) 2 V cells. The batteries are mounted in an outside shed but the batteries have had their cases broken by vandals. What would be one potential environmental risk from the damaged batteries? | The lead is now exposed to the atmosphere. | The damaged cases are sharp. | The electrolyte has spilled into the soil and into the water table. | The battery cannot supply power to the system
| 267 | What instrument will you be using to measure the current generated by the solar cell? | pH meter | Photometer | Multimeter | None of them
| 268 | If the orientation of PV module changes from horizontal to vertical,Tilt angle will _______. | Change | Remain same | Depends | Can't say
| 269 | Bypass diode has overcome the effect of | Short circuit | Shading | Temperature rise | Over voltage
| 270 | which is important in commercial & financial calculation of a Solar PV project. | Pay back period | Net metering | Open access | Operating Procedure
| 271 | Which of the following is a problem with evacuated tubes? | Underheating | Overheating | Poor absorption of sunlight | Poor reception of sunlight
| 272 | Why does flat plate collector perceived to have higher efficiency than evacuated tube solar collector in terms of area? | Because flat plate collector has a large installation area | Because evacuated tube collector is compact | Because of the vacuum gap in evacuated tube collectors | Because of the vacuum gap in flat plate collectors
| 273 | lose more heat to the environment than evacuated-tube solar collectors. | Photovoltaics | Solar stills | Solar air conditioners | Flat-plate collectors
| 274 | What is aperture area in a solar collector? | Area of the system | Area in the receiver that receives the solar radiation | Area occupied by the system after installation | Cross-sectional area of the receiver
| 275 | Which of the following are used as absorbers in evacuated-tube solar collectors? | Carbon tubes | Wooden or metallic tubes | Plastic or glass tubes | Metallic or glass tubes
| 276 | It can be protected by Charge Controller. | Light | Module | Battery | All the above
| 277 | One unit electricity means | 1 KWh | 1 KW | 1 watt | 1 Wh
| 278 | What are the two basic ways to measure solar radiation? | Ground-based instrumentation and satellite measurement | Telephonic measurement and mobile tower measurement | Anemometer and voltmeter | Ammeter and voltmeter
| 279 | The less insolation occurs when the sun is ____ | At night | Low in the sky | High in the sky | None of the above
| 280 | The slope of the V-I curve of a solar cell is 66.1°. Calculate the value of resistance. Assume the relationship between voltage and current is a straight line. | 3.5 Ω | 2.2 Ω | 2.5 Q | 2.9 Ω
| 281 | The power factor of a SCIM generally is | 1-.2 | 6-.8 | 3-.4 | 5-.7
| 282 | SCIM has a | Shorter life | Medium life | Longer life | Infinite life
| 283 | Calculate the line voltage in star, connection when phase voltage=311V | 548.29 V | 538.66 V | 587.28 V | 185.58 V
| 284 | In Solar Panel, which is the top cover and is transparent to allows light to enter? | Non-reflective layer | Contact grid | Back plate | Cover glass
| 285 | In how many ways we can harness solar energy? | One-way | Two ways | Three ways | Four ways
| 286 | The solar radiation range in ultraviolet is about ___ | 4-5% | 3-5% | 0-3% | None of the above
| 287 | Active solar is directly consumed in activities such as drying clothes and warming of air | Passive solar | Simple solar | Active solar | None of the above
| 288 | ____ comes under the indirect method of solar energy utilization | Water power, wind, wave energy | Marine currents, OTEC | Biomass | All of the above
| 289 | Why does an evacuated flat plate collector require a glass-metal seal? | To join the glass plate to the rest of metal envelope | To join the glass plate to a part of metal envelope | To disconnect the glass plate to the rest of plastic envelope | To disconnect the glass plate to the rest of metal envelope
| 290 | Which of the following are combined to form an evacuated flat plate solar collector? | Flat plate solar collectors and evacuated-tube solar collectors | Flat plate solar collectors and bowl collectors | Bowl collectors and evacuated-tube solar collectors | Polymer collectors and bowl collectors
| 291 | The first generation of solar cell consists of ____ | Large area | High quality | Single junction devices | All of the above
| 292 | Which of the following methods is recommended for attaching an array frame to the supporting structure? | Using suitable screws through the mounting feet of the array through the metal roof into the rafters under the roof. | Using appropriate roof tile brackets that slide under the tile, are screwed or bolted onto the rafter and the array frame bolts to the appropriate location on the bracket. | Using plastic cable ties. | Both a and b.
SGJ/N0105 (Test and Commission Solar PV System )
| 293 | Whcih of the following components of a solar PV system you are required to inspect? | Mechanical | Civil | Electrical | All of the above | SGJ/N0105 | 2 | 4 | D
| 294 | When testing the PV system, what should be done immediately after verifying system grounding ? | Measure load requirements of that particular facility | Measure insulation resistance | Minimize the load requirement of that particular facility | Both A&C | SGJ/N0105 | 3 | 5 | B
| 295 | Before any product reaches customers, they should pass QC, what is QC? | Quality Check | Quality Concern | Quantity Check | Quantity Concern | SGJ/N0105 | 14 | 5 | A
| 296 | What will you do if you observe some anomalous conditions when testing the solar PV system? | Record details | Do the necessary repair | Both A&B | Ignore minor details | SGJ/N0105 | 13 | 5 | C
| 297 | What is DAS? | Directly Affecting Sunlight | Data Acquisition Systems | Data Analyzing System | The output voltage range of PV system | SGJ/N0105 | 7 | 5 | B
| 298 | As per thumb rule, tilt at ______ gives best annual performance . | Azimuth | Latitude | Altitude | None of the above
| 299 | Which one of the following is an overcurrent protection device? | Isolator | Combiner box | gPV fuse | Terminal block
| 300 | The minimum voltage rating of a protection device in a PV system must be equal to: | Array Voc at midday on a hottest expected day | 2 x module Vmpp | Array Voc at coldest temperature for the site | Isc x Voc
| 301 | The system you are installing includes an MPPT and the solar array will comprise five (5) 60 cell solar modules in series. Each solar module has an open circuit voltage of 35V and short circuit current of 7A. What is the electrical danger with this system? | There are 5 modules that must be lifted onto the roof. | The MPPT must be wired correctly | The solar array is rated at 175V DC open circuit and hence LV | The MPPT must be connected to a battery bank
| 302 | The efficiency of the solar cell is about | 25% | 15% | 40% | 60%
| 303 | As the temperature of a solar cell decreases how do the current and the voltage change? | Current decreases and voltage increases | Current increases and voltage increases | Current decreases and voltage decreases | Current increases and voltage decreases
| 304 | Site hand over should be done with _______. | In the presence of Electrical inspector | Proper Documentation & check lists | Both A & B | None of the above
| 305 | The energy received at the site for a photovoltaic installation is 22.14 MJ/m2 . What is the number of peak sun hours at the site? | 79.7 | 6.15 | 25.74 | 4.94
| 306 | A continuity and polarity test shall be performed on the DC system. What should NOT be done when performing this test? | Confirming that all modules that are connected in parallel are connected with the correct polarity. That is positive to positive and negative to negative. | Measuring the continuity between the inverter input positive and negative input terminals to ensure the polarity and voltage are correct. | Confirming that the positive cable of the array connects to the terminal marked solar positive on the solar controller. | Confirming that positive of the battery is connected to the terminal marked battery positive on the solar charge controller
| 307 | PV Module generates electricity in ________ . | AC | DC | As per requirement | None of them
| 308 | What instrument will you be using to measure the current generated by the solar cell? | pH meter | Photometer | Multimeter | None of them
| 309 | If the monitoring of the system shows that over time the batteries are reducing in state of charge, what could be the cause and rectification plan? | There are corroded connections in the wiring inducing voltage drop. Visual and meter checks | The end-user has increased their loads and load management and the design load needs to be emphasized. | The modules are becoming dirty and more regular cleaning is required. | Any/all of the above
| 310 | A battery bank consists of twelve 2 V cells. Two were faulty and were replaced. What test should not be performed when system is reconnected? | Polarity of the battery bank. | Voltage of each cell | Overall battery bank voltage. | All of the above
| 311 | What would be recorded in a maintenance logbook for a system comprising individual 2V wet lead acid batteries and a solar array? | Individual battery voltages | Date the modules were cleaned. | Specific gravity readings for each battery cell. | All of the above.
| 312 | The system comprises a large wet lead acid battery bank containing twenty four (24) 2 V cells. The batteries are mounted in an outside shed but the batteries have had their cases broken by vandals. What would be one potential environmental risk from the damaged batteries? | The lead is now exposed to the atmosphere. | The damaged cases are sharp. | The electrolyte has spilled into the soil and into the water table. | The battery cannot supply power to the system
| 313 | The solar photovoltaics efficiency varies between _____ | 20-40% | 9-70% | 45-60% | 8-40%
| 314 | The energy received at the site for a photovoltaic installation is 22.14 MJ/m2 . What is the number of peak sun hours at the site? | 79.7 | 6.15 | 25.74 | 4.94
| 315 | which is important in commercial & financial calculation of a Solar PV project. | Pay back period | Net metering | Open access | Operating Procedure
| 316 | Battery sizing doesn't depend on ________. | Ambient temperature | Back up Hours | Battery Nominal Voltage | Load
| 317 | Which type of solar cell gives the highest efficiency? | Mono crystalline | Polycrystalline germanium | Thin film | Polycrystalline silicon
| 318 | Turn around efficiency of battery energy storage system is around | 75 percent | 50 percent | 25 percent | 10 percent.
| 319 | How does actinometer work? | By determining the number of electrons in a beam integrally | By determining the number of protons in a beam differentially | By determining the direction of photons | By determining the number of photons integrally
| 320 | Distance between two earth-pit should be _____ . | 1 meter | 2 Meter | 3 Meter | 5 Meter
| 321 | Which of the following categories does a pyranometer belong to? | Voltmeters | Actinometers | Hall sensors | Amplifiers
| 322 | The solar radiation range in the visible rays is about ___ | 40-41% | 33-35% | 42-43% | None of the above
| 323 | Which cell is used to converts solar energy directly into electrical energy ____ | Dry cell | Photoelectric cell | Battery | None of the above
| 324 | The solar heater function is to convert the solar energy in to ____ | Radiation | Electrical Energy | Thermal Energy | None of the above
| 325 | The deficiency of polycrystalline silicon solar cell is ____ | Less than monocrystalline silicon solar cell | Higher than monocrystalline silicon solar cell | Equal to monocrystalline Si solar cell | None of the above
| 326 | Anti Islanding is used _______ . | in Module for protection | In Combiner box for protection | In MPPT for protection | In Inverter for protection.
| 327 | Which is a circuit breaker ? | MCB | MCCB | ACB | All of them
| 328 | Transformer is used to __________ . | Step up the Voltage | Step down the voltage | Both A & B | To store Electricity
| 329 | What is the risk when connecting batteries together? | The voltage is increasing. | There is current going into the batteries. | Someone might short the terminals | The batteries might fall over
| 330 | What is the main difference between pyranometer and pyrheliometer? | Both measure solar radiation | Pyranometer measures global radiation while pyrheliometer measures direct solar radiation | Pyranometer and pyrheliometer measure global radiation | Pyranometer measures solar radiation while pyrheliometer measures global radiation
| 331 | A continuity and polarity test shall be performed on the DC system. What should NOT be done when performing this test? | Confirming that all modules that are connected in parallel are connected with the correct polarity. That is positive to positive and negative to negative. | Measuring the continuity between the inverter input positive and negative input terminals to ensure the polarity and voltage are correct. | Confirming that the positive cable of the array connects to the terminal marked solar positive on the solar controller. | Confirming that positive of the battery is connected to the terminal marked battery positive on the solar charge controller
| 332 | What is the maximum possible output of a solar array? | 300 W/m2 | 100 W/m2 | 250 W/m2 | 500 W/m2
| 333 | It can be protected by Charge Controller. | Light | Module | Battery | All the above
| 334 | Importance of blocking diode is | It blocks the reverse current | It blocks the flow of extra current | Both A & B | It protects the equipment against surge
| 335 | The efficiency of monocrystalline silicon solar cell is about ____ | 14-17% | 15-19% | 16-18% | None of the above
| 336 | If the monitoring of the system shows that over time the batteries are reducing in state of charge, what could be the cause and rectification plan? | There are corroded connections in the wiring inducing voltage drop. Visual and meter checks | The end-user has increased their loads and load management and the design load needs to be emphasized. | The modules are becoming dirty and more regular cleaning is required. | Any/all of the above
| 337 | When the source of light is not sun light then the photo voltaic cell is used as | Photo diode | Photovoltaic cell | Photo detector | Photo transmitter
| 338 | What are the different methods of solar energy utilizations? | Direct method | Indirect method | Both a and b | None of the above
| 339 | What are the two basic ways to measure solar radiation? | Ground-based instrumentation and satellite measurement | Telephonic measurement and mobile tower measurement | Anemometer and voltmeter | Ammeter and voltmeter
| 340 | The cable from the solar array will be mounted directly on the wall and exposed to direct sunlight. The maximum current will be 18 A, using table 9 what is the minimum size cable that selected to ensure it meets the current carrying capacity? | 4 mm2 | 6 mm2 | 10 mm2 | 10 mm2
| 341 | The slope of the V-I curve of a solar cell is 66.1°. Calculate the value of resistance. Assume the relationship between voltage and current is a straight line. | 3.5 Ω | 2.2 Ω | 2.5 Q | 2.9 Ω
| 342 | Calculate the line voltage in star, connection when phase voltage=311V | 548.29 V | 538.66 V | 587.28 V | 185.58 V
| 343 | Infrared radiations gives ______ energy | Light energy | Heat energy | Both a and b | None of the above
| 344 | A string cable requires overcurrent protection, what should be the maximum rating of the protective device if the short circuit current for the module in the string is 6.8 A and the reverse current is 14 A? | 13.6 A | 8.75 A | 6.8 A | 14 A
| 345 | Cables terminated on the flooded lead acid battery banks should be? | Bolted to the battery terminals using suitable lugs with insulation covers over the terminals. | Bare wire wrapped around the terminals and covered in grease. | Run via the shortest route over the filler/inspection caps. | Connected with crocodile /alligator clips for easy disconnection.
| 346 | The system is 24 V DC with a standard solar charge controller. Which of the following is NOT what you do first when disconnecting the system for maintenance purposes? | Turn off the AC isolator on the inverter | Undo the cable connection to the battery positive or battery negative terminal first. | Turn off the loads in the house | Turn off or open the PV array isolating device
| 347 | A DC load is connected to 24 V and the current is 2 A. What is the power of the load? | 24 W | 48 W | 12 W | 26 W
| 348 | A LED lamp rated 9 W is on for 40 minutes and TV of 60 W is on for 2 hours. How much energy has been used? | 69 Wh | 360 Wh | 126 Wh | 960 Wh
| 349 | SPD is used for ______ . | Over Current Protection | Over Voltage Protection | Surge Protection | Single Pole protection
| 350 | In battery bank room construction, which is taken in to the priority ? | Dust free area | Ventilation | Cleanness | All of the above
| 351 | Which is a cause of degredation of module? | Aging | Cleanness | Earthing | All of the above
| 352 | The energy which is stored as latent heat is called as ___ energy | Mechanical energy | Electrical energy | Thermal energy | None of the above
| 353 | The life of a lead acid battery is expected to be | 2 - 5 Year | 1 - 2 year | 5 - 10 Year | 20 - 25 Year
| 354 | The minimum voltage rating of a protection device in a PV system must be equal to: | Array Voc at midday on a hottest expected day | 2 x module Vmpp | Array Voc at coldest temperature for the site | Isc x Voc
| 355 | Bypass diode has overcome the effect of | Short circuit | Shading | Temperature rise | Over voltage
| 356 | The system you are installing includes an MPPT and the solar array will comprise five (5) 60 cell solar modules in series. Each solar module has an open circuit voltage of 35V and short circuit current of 7A. What is the electrical danger with this system? | There are 5 modules that must be lifted onto the roof. | The MPPT must be wired correctly | The solar array is rated at 175V DC open circuit and hence LV | The MPPT must be connected to a battery bank
| 357 | What is a bolometer made up of? | A thermal reservoir and a metal layer | An electrical reservoir and an insulated layer | An absorptive element, thermal reservoir and a thermally insulated material linking both of them | An absorptive element, thermal reservoir and a thermal link
| 358 | Which of the following best describes the working of bolometer? | Radiation → temperature of absorptive element increases above the thermal reservoir → resistive thermometer to measure temperature change | Radiation → resistive thermometer to measure temperature change → temperature of absorptive element increases above the reservoir | Temperature of absorptive element increases above the reservoir → radiation → resistive thermometer to measure temperature change | Radiation → temperature of absorptive element increases above the electrical reservoir → resistive thermometer to measure temperature change
| 359 | What is the main difference between pyranometer and pyrheliometer? | Both measure solar radiation | Pyranometer measures global radiation while pyrheliometer measures direct solar radiation | Pyranometer and pyrheliometer measure global radiation | Pyranometer measures solar radiation while pyrheliometer measures global radiation
| 360 | Customer should be aware of | Abnormal condition | Operating Procedure | Data logging | All of the above
| 361 | The efficiency of the first generation of solar cell is about ___ | 15-20% | 16-20% | 10-20% | None of the above
| 362 | P-N Junction solar cell, P-type semiconductor is connected to | Cathode | Anode | triode | Diode
| 363 | What information would NOT be provided on the equipment in a system documentation? | Brand and manufacturer. | Serial number | The number of products sold that year | Model.
| 364 | If the monitoring of the system shows that over time the batteries are reducing in state of charge, what could be the cause and rectification plan? | There are corroded connections in the wiring inducing voltage drop. Visual and meter checks | The end-user has increased their loads and load management and the design load needs to be emphasized. | The modules are becoming dirty and more regular cleaning is required. | Any/all of the above
| 365 | P-N Junction solar cell, N-type semiconductor is connected to | Cathode | Anode | triode | Diode
| 366 | What is function of inverter? | Conversion of AC to DC | Conversion of DC to AC | Amplifying the sound | Step up the voltage
| 367 | Identify the adjacent module configuration. | Monocrystalline | Polycrystalline | Thin film | Any other
| 368 | Anemometer is used to measure ______. | Wind speed | Wind direction | sun rays direction | Both A and B
| 369 | Temperature sensor to measure _______. | Ambient temperature | Cell temperature | Both A & B | Temperature coefficient
| 370 | What is the main difference between pyranometer and pyrheliometer? | Both measure solar radiation | Pyranometer measures global radiation while pyrheliometer measures direct solar radiation | Pyranometer and pyrheliometer measure global radiation | Pyranometer measures solar radiation while pyrheliometer measures global radiation
| 371 | The efficiency of amorphous silicon solar cell is about ____ | 5-7% | 15-19% | 16-18% | None of the above
| 372 | Photovoltaic cell or solar cell converts........ | Thermal energy into electricity | Electromagnetic radiation directly into electricity | Solar radiation into thermal energy | Solar radiation into kinetic energy
| 373 | How should a lead acid battery bank be installed? | In a battery box inside a building with the ventilation outlet at the highest point on the box to the inside of the building... | In a dedicated room with the with the ventilation outlet vented to the outside at the highest point in the room. | In a dedicated room with the with the ventilation outlet vented to the outside at the lowest point in the room | Any of the above
| 374 | Which of the following type of collector is used for low temperature systems? | Flat plate collector | Line focussing parabolic collector | Paraboloid dish collector | All of the above
| 375 | The zenith angle is the angle made by the sun’s rays with the __ to a __ surface. | normal, horizontal | tangent, horizontal | normal, vertical | tangent, vertical
| 376 | As the temperature of a solar cell decreases how do the current and the voltage change? | Current decreases and voltage increases | Current increases and voltage increases | Current decreases and voltage decreases | Current increases and voltage decreases
| 377 | In Solar PV system, what is used to generate electricity | Heat | Light | Both A & B | Can't say
| 378 | A battery bank consists of twelve 2 V cells. Two were faulty and were replaced. What test should not be performed when system is reconnected? | Polarity of the battery bank. | Voltage of each cell | Overall battery bank voltage. | All of the above
| 379 | Series and parallel combination of the solar cell is known as ___ | Solar array | Solar light | Solar sight | Solar eye
| 380 | The process of adding impurity to silicon is known as | Doping | Imparting | Bombarding | Injecting
| 381 | In Net-metering, bidirectional meter is used to measure ______. | Excess power export | Powe import | Both A & B | None of the above
| 382 | As a system, actinometer is a _____ or _______ | chemical system or physical device | chemical system or thermal device | thermal device or mechanical device | thermo-mechanical system or physical device
| 383 | Actinometer is primarily used to measure ______ and ______ | infrared and ultraviolet | visible and infrared | visible and ultraviolet | infrared and UV-A
| 384 | The efficiency of the poly crystalline silicon solar cell is about ____ | 14-17% | 12-17% | 13-15% | None of the above
| 385 | The low temperature in the concentrating solar technologies divided into how many parts? | Top layer | Bottom layer | Middle layer | All of the above
| 386 | Battery charging and solar water pumping are the two main application 0f | Stand-Alone PV system | Hybrid PV system | Twin-supplied Pv system | Grid connected PV system
| 387 | To insure that your PV system will work all the day you should use: | converter | battery | Both A & B | none.
| 388 | Interactive PV systems operate: | stand alone | in parallel with the grid. | Both A & B | None
| 389 | 5-Which type of solar cells is more efficient in low lights: | AMORPHOUS | POLYCRYSTALLINE | MONOCRYSTALLINE. | None of them
| 390 | The solar energy divided in to ___ | Active | Passive | Both A & B | None of the above
| 391 | The top layer of the semiconductor in the solar cell consists of ___ | Silicon | Phosporous | Silicon and phosphorous | All of the above
| 392 | How much voltage does a single solar cell produce? | 1v | 0.5v | 0.01v | None of the above
| 393 | I have a 230 V AC appliance that is rated 600 Watts however it requires a surge current of 4 amps and the inverter we are selecting is rated at unity power factor. You have four inverters with surge ratings below to choose from, which inverter you would select to operate this appliance? | 600 Watts (600VA) | 2400 Watts (2400VA) | 300 Watts (300VA) | 1000 Watts (1000 VA)
| 394 | In a string Modules are connected in | Parallel | As per customer requirement | Series | Series and Parallel
| 395 | It can be protected by Charge Controller. | Light | Module | Battery | All the above
| 396 | When lifting a tall wet lead acid battery to the site how should the battery be handled? | With two installers at each end when it is on its side then tipped up. | In an upright position. | Using hooks through the battery terminals. | Carried on the shoulder
| 397 | Importance of blocking diode is | It blocks the reverse current | It blocks the flow of extra current | Both A & B | It protects the equipment against surge
| 398 | The energy received at the site for a photovoltaic installation is 22.14 MJ/m2 . What is the number of peak sun hours at the site? | 79.7 | 6.15 | 25.74 | 4.94
| 399 | I have a 230 V AC appliance that is rated 600 Watts however it requires a surge current of 4 amps and the inverter we are selecting is rated at unity power factor. You have four inverters with surge ratings below to choose from, which inverter you would select to operate this appliance? | 600 Watts (600VA) | 2400 Watts (2400VA) | 300 Watts (300VA) | 1000 Watts (1000 VA)
| 400 | The voltage of a single solar cell is....... | 0.2 v | 0.5 v | 1.0 v | 2.0 v
| 401 | When the source of light is not sun light then the photo voltaic cell is used as | Photo diode | Photovoltaic cell | Photo detector | Photo transmitter
| 402 | P-N Junction solar cell, P-type semiconductor is connected to | Cathode | Anode | triode | Diode
| 403 | P-type semiconductor are the majority carriers. | Holes | Elelctrons | Neutrons | All of the above
| 404 | N-type semiconductor are the majority carriers | Holes | Elelctrons | Neutrons | All of the above
| 405 | Solar energy is harvested by ____________ to produce energy | chloroplast | ribosomes | mitochondria | cell membrane
| 406 | In Solar PV system, what is used to generate electricity | Heat | Light | Both A & B | Can't say
| 407 | If temperature rises, then Voltage of PV Module | Increases | Decreases | Remains same | It will remain same for certain temperature, then it 'll decrese
| 408 | It can be protected by Charge Controller. | Light | Module | Battery | All the above
| 409 | One unit electricity means | 1 KWh | 1 KW | 1 watt | 1 Wh
| 410 | What are the two basic ways to measure solar radiation? | Ground-based instrumentation and satellite measurement | Telephonic measurement and mobile tower measurement | Anemometer and voltmeter | Ammeter and voltmeter
| 411 | If temperature rises, then Voltage of PV Module | Increases | Decreases | Remains same | It will remain same for certain temperature, then it 'll decrese
| 412 | A battery bank consists of twelve 2 V cells. Two were faulty and were replaced. What test should not be performed when system is reconnected? | Polarity of the battery bank. | Voltage of each cell | Overall battery bank voltage. | All of the above
| 413 | The less insolation occurs when the sun is ____ | At night | Low in the sky | High in the sky | None of the above
| 414 | The Infrared radiations, visible radiations and small amount of ultraviolet radiations are collectively known as ______ energy | Light energy | Heat energy | Solar energy | None of the above
| 415 | What would be recorded in a maintenance logbook for a system comprising individual 2V wet lead acid batteries and a solar array? | Individual battery voltages | Date the modules were cleaned. | Specific gravity readings for each battery cell. | All of the above.
| 416 | The energy received at the site for a photovoltaic installation is 22.14 MJ/m2 . What is the number of peak sun hours at the site? | 79.7 | 6.15 | 25.74 | 4.94
| 417 | Which of the following best describes the measurement process in a pyrheliometer? | Sunlight → window in pyrheliometer → thermopile → heat is converted to electrical signal → recorded | Sunlight → window in pyrheliometer → heat is converted to electrical signal → thermopile → recorded | Window in pyrheliometer → sunlight → thermopile → heat is converted to electrical signal → recorded | Sunlight → heat is converted to electrical signal → window in pyrheliometer → thermopile → recorded
| 418 | The Sun-radiated solar energy on the surface of Earth on a normal sunny day is approximately | 1320 W/m2 | 100 W/m2 | 1500 W/m2 | 1 KW/m2
| 419 | The system you are installing includes an MPPT and the solar array will comprise five (5) 60 cell solar modules in series. Each solar module has an open circuit voltage of 35V and short circuit current of 7A. What is the electrical danger with this system? | There are 5 modules that must be lifted onto the roof. | The MPPT must be wired correctly | The solar array is rated at 175V DC open circuit and hence LV | The MPPT must be connected to a battery bank
| 420 | What is the basic component of the PV system (Photovoltaic system)? | Battery | Charge collector | Solar cell | All of the above
| 421 | Which of the following area is preferred for solar thermal electric plants? | mountain tops | hot arid zones | coastal areas | high rainfall zones.
| 422 | What does the word photovoltaic mean? | Sun Powered | Light - Cell | Light - Electricity | Solar - Energy
| 423 | A string cable requires overcurrent protection, what should be the maximum rating of the protective device if the short circuit current for the module in the string is 6.8 A and the reverse current is 14 A? | 13.6 A | 8.75 A | 6.8 A | 14 A
| 424 | A DC load is connected to 24 V and the current is 2 A. What is the power of the load? | 24 W | 48 W | 12 W | 26 W
| 425 | If the monitoring of the system shows that over time the batteries are reducing in state of charge, what could be the cause and rectification plan? | There are corroded connections in the wiring inducing voltage drop. Visual and meter checks | The end-user has increased their loads and load management and the design load needs to be emphasized. | The modules are becoming dirty and more regular cleaning is required. | Any/all of the above
| 426 | When the source of light is not sun light then the photo voltaic cell is used as | Photo diode | Photovoltaic cell | Photo detector | Photo transmitter
| 427 | A battery bank consists of twelve 2 V cells. Two were faulty and were replaced. What test should not be performed when system is reconnected? | Polarity of the battery bank. | Voltage of each cell | Overall battery bank voltage. | All of the above
| 428 | From the sun the solar energy is radiated in the form of _____ waves | Electromagnetic waves | Infrared waves | Transverse waves | None of the above
| 429 | What would be recorded in a maintenance logbook for a system comprising individual 2V wet lead acid batteries and a solar array? | Individual battery voltages | Date the modules were cleaned. | Specific gravity readings for each battery cell. | All of the above.
| 430 | Turn around efficiency of battery energy storage system is around | 75 percent | 50 percent | 25 percent | 10 percent.
| 431 | IEC 61215 is the standard for_____ . | Thinfilm module | Poly crystaline module | Mono crystaline Module | Both B and C
| 432 | What instrument will you be using to measure the current generated by the solar cell? | pH meter | Photometer | Multimeter | None of them
| 433 | The solar radiation range in the visible rays is about ___ | 40-41% | 33-35% | 42-43% | None of the above
| 434 | The semiconductor is the part of the solar cell that has ____ | One layer | Two layers | Three layers | None of the above
| 435 | The voltage of a single solar cell is....... | 0.2 v | 0.5 v | 1.0 v | 2.0 v
| 436 | How should a lead acid battery bank be installed? | In a battery box inside a building with the ventilation outlet at the highest point on the box to the inside of the building... | In a dedicated room with the with the ventilation outlet vented to the outside at the highest point in the room. | In a dedicated room with the with the ventilation outlet vented to the outside at the lowest point in the room | Any of the above
| 437 | A continuity and polarity test shall be performed on the DC system. What should NOT be done when performing this test? | Confirming that all modules that are connected in parallel are connected with the correct polarity. That is positive to positive and negative to negative. | Measuring the continuity between the inverter input positive and negative input terminals to ensure the polarity and voltage are correct. | Confirming that the positive cable of the array connects to the terminal marked solar positive on the solar controller. | Confirming that positive of the battery is connected to the terminal marked battery positive on the solar charge controller
| 438 | P-N Junction solar cell, P-type semiconductor is connected to | Cathode | Anode | triode | Diode
| 439 | The top layer of the semiconductor in the solar cell is also called as ___ | P - type | N - type | PNP - type | All of the above
| 440 | A solar thermal collector collects solar energy and relfects it back | absorbs the solar radiation and dissipates it to the ambient | collects and converts solar energy into electrical energy | collects and converts the solar energy into thermal energy and delivers it to the next | stage of the system
| 441 | The photovoltaics divided in to ___ | Crystalline | Thin films | Both A & B | None of the above
| 442 | Battery bank shouldn't be installed in a location . | Near PV array | Well ventilated room | Near control room | At high temperature area
| 443 | In a residential roof-top PV system, which is not taken in to the considiration ? | Nearest transmission grid | Load & load flow analysis | Roof area | Back up Hours
| 444 | How does actinometer work? | By determining the number of electrons in a beam integrally | By determining the number of protons in a beam differentially | By determining the direction of photons | By determining the number of photons integrally
| 445 | Which of the following is generally used to measure direct solar radiation? | Which of the following is generally used to measure direct solar radiation? | Which of the following is generally used to measure direct solar radiation? | Which of the following is generally used to measure direct solar radiation? | Which of the following is generally used to measure direct solar radiation?
| 446 | What are the components of a flat plate collector? | Flat box, a plate with reflective coating and fluid circulation passageways, an opaque cover, a circulating fluid | Flat box, a dark coloured plate with fluid circulation passageways, an opaque, a circulating fluid | Flat box, a dark coloured plate with fluid circulation passageways, a transparent cover | Flat box, a dark coloured plate fluid circulation passageways, a transparent cover, a circulating fluid
| 447 | Why is a transparent cover used in a flat plate collector? | To maximize transmission of the incident sunlight into the box | To minimize transmission of the incident sunlight into the box | To entirely reflect the incident sunlight back | To ensure partial transmission of the incident sunlight into the box
| 448 | SOP stands for _____ . | Set Of Precaution | Standard Of Protection | Standard Operating Procedure | Set Of Procedure
| 449 | Grounding is required for ______ . | Equipments safety | Operators safety | System safety | All of the above
| 450 | Which of the following is used to make a glass-glass evacuated tubes? | Borosilicate glass | Carbon | Wood | Plastic coating
| 451 | Which of the following is a problem with evacuated tubes? | Underheating | Overheating | Poor absorption of sunlight | Poor reception of sunlight
| 452 | Why does flat plate collector perceived to have higher efficiency than evacuated tube solar collector in terms of area? | Because flat plate collector has a large installation area | Because evacuated tube collector is compact | Because of the vacuum gap in evacuated tube collectors | Because of the vacuum gap in flat plate collectors
| 453 | Identify the best location for the inverter from the list. | Inside a sealed box | Outside and exposed to sunshine | Near to, but not directly above, the battery | On the battery
| 454 | Which one of the following is an overcurrent protection device? | Isolator | Combiner box | gPV fuse | Terminal block
| 455 | The minimum voltage rating of a protection device in a PV system must be equal to: | Array Voc at midday on a hottest expected day | 2 x module Vmpp | Array Voc at coldest temperature for the site | Isc x Voc
| 456 | Temperature sensor to measure _______. | Ambient temperature | Cell temperature | Both A & B | Temperature coefficient
| 457 | For better efficiency, solar collectors do not coat their transparent cover with an anti-reflective coating. | TRUE | FALSE | Not Sure | Some are right
| 458 | The system you are installing includes an MPPT and the solar array will comprise five (5) 60 cell solar modules in series. Each solar module has an open circuit voltage of 35V and short circuit current of 7A. What is the electrical danger with this system? | There are 5 modules that must be lifted onto the roof. | The MPPT must be wired correctly | The solar array is rated at 175V DC open circuit and hence LV | The MPPT must be connected to a battery bank
| 459 | What is the basic component of the PV system (Photovoltaic system)? | Battery | Charge collector | Solar cell | All of the above
| 460 | In Net-metering, bidirectional meter is used to measure ______. | Excess power export | Powe import | Both A & B | None of the above
| 461 | Battery sizing doesn't depend on ________. | Ambient temperature | Back up Hours | Battery Nominal Voltage | Load
| 462 | The rate of current provided by a PV panel/ array for charging a lead-acid accumulator should be: | 1 to 2 A | 2 to 2.5 A | 3A | 5 to 10 A
| 463 | In what form is solar energy is radiated from the sun? | Ultraviolet Radiation | Infrared radiation | Electromagnetic waves | Transverse waves
| 464 | The most expensive type of the solar cells is: | AMORPHOUS | POLYCRYSTALLINE | MONOCRYSTALLINE. | None of them
| 465 | What is the irradiation proportional to in thermopile technology? | Difference between sun exposed area and shadow area | Difference between temperature of sun exposed area and shadow area | Difference between temperature of sun exposed area and temperature of shadow area | Difference between of sun exposed area and temperature of shadow area
| 466 | The current density of a photo voltaic cell ranges from | 10 – 20 mA/cm2 | 40 – 50 mA/cm2 | 20 – 40 mA/cm2 | 60 – 100 mA/cm2
| 467 | The efficiency of amorphous silicon solar cell is about ____ | 5-7% | 15-19% | 16-18% | None of the above
| 468 | The solar energy divided in to ___ | Active | Passive | Both a and b | None of the above
| 469 | Which portion of the solar spectrum can a photodiode-based pyranometer detect? | 100 – 200nm | 1 – 10um | 150 – 200nm | 400 – 900 nm
| 470 | Which of the following technology does a net radiometer work on? | Semiconductor | Conductor-insulator | Thermopile sensor | Photoelectric effect
| 471 | What is the maximum possible output of a solar array? | 300 W/m2 | 100 W/m2 | 250 W/m2 | 500 W/m2
| 472 | What is the risk when connecting batteries together? | The voltage is increasing. | There is current going into the batteries. | Someone might short the terminals | The batteries might fall over
| 473 | Which of the following methods is recommended for attaching an array frame to the supporting structure? | Using suitable screws through the mounting feet of the array through the metal roof into the rafters under the roof. | Using appropriate roof tile brackets that slide under the tile, are screwed or bolted onto the rafter and the array frame bolts to the appropriate location on the bracket. | Using plastic cable ties. | Both a and b.
| 474 | What are the layers which improve the receiver efficiency of solar thermal energy? | Absorber layer coated tube | Anti-reflective layer coated tube | Both a and b | None of the above
| 475 | How does a sunshine recorder work? | Measures the solar irradiance | Measures the solar radiation | Measures the number of hours of sunshine | Measures the number of hours of sunshine above a certain threshold
| 476 | What is the solar constant value? | S = 1.4*103 W/m2 | S = 1.4*102 W/m2 | S = 1.4*104 W/m2 | None of the above
| 477 | As the temperature of a solar cell decreases how do the current and the voltage change? | Current decreases and voltage increases | Current increases and voltage increases | Current decreases and voltage decreases | Current increases and voltage decreases
| 478 | Why does flat plate collector perceived to have higher efficiency than evacuated tube solar collector in terms of area? | Because flat plate collector has a large installation area | Because evacuated tube collector is compact | Because of the vacuum gap in evacuated tube collectors | Because of the vacuum gap in flat plate collectors
| 479 | What is aperture area in a solar collector? | Area of the system | Area in the receiver that receives the solar radiation | Area occupied by the system after installation | Cross-sectional area of the receiver
| 480 | Which of the following are used as absorbers in evacuated-tube solar collectors? | Carbon tubes | Wooden or metallic tubes | Plastic or glass tubes | Metallic or glass tubes
| 481 | What is the Angstrom compensation pyrheliometer used to measure? | Direct solar radiation | Indirect solar radiation | Diffused solar radiation | UV radiation
| 482 | For better efficiency, solar collectors do not coat their transparent cover with an anti-reflective coating. | TRUE | FALSE | Not Sure | Some are right
| 483 | Which of the following is used to make a glass-glass evacuated tubes? | Borosilicate glass | Carbon | Wood | Plastic coating
| 484 | Which is a cause of degredation of module? | Aging | Cleanness | Earthing | All of the above
| 485 | Transformer is used to __________ . | Step up the Voltage | Step down the voltage | Both A & B | To store Electricity
| 486 | Which of the following is a circulating fluid in evacuated flat-plate solar collectors? | Water | Steam | Nitrogen | Hydrogen
| 487 | Evacuated flat-plate solar collectors are a type of _______ | concentrating collectors | photovoltaic technology | non-concentrating collectors | solar stills
| 488 | Why does an evacuated flat plate collector require a glass-metal seal? | To join the glass plate to the rest of metal envelope | To join the glass plate to a part of metal envelope | To disconnect the glass plate to the rest of plastic envelope | To disconnect the glass plate to the rest of metal envelope
| 489 | What is the irradiation proportional to in thermopile technology? | Difference between sun exposed area and shadow area | Difference between temperature of sun exposed area and shadow area | Difference between temperature of sun exposed area and temperature of shadow area | Difference between of sun exposed area and temperature of shadow area
| 490 | The thin bottom layer of the semiconductor in the solar cell is also called as ___ | P - type | N - type | PNP - type | All of the above
| 491 | The efficiency of amorphous silicon solar cell is about ____ | 5-7% | 15-19% | 16-18% | None of the above
| 492 | ......is one of the most important materials is also known as solar grade silicon. | Crushed silicon | Crystalline silicon | Powdered silicon | Silicon
| 493 | The top layer of the semiconductor in the solar cell consists of ___ | Silicon | Phosporous | Silicon and phosphorous | All of the above
| 494 | Which of the following are combined to form an evacuated flat plate solar collector? | Flat plate solar collectors and evacuated-tube solar collectors | Flat plate solar collectors and bowl collectors | Bowl collectors and evacuated-tube solar collectors | Polymer collectors and bowl collectors
| 495 | A typical output of a solar cell is | 0.1 V | 0.26 V | 1.1 V | 2 V
| 496 | Certain metals become super conducting when cooled below | melting point | transition temperature | 00 K | 00 C
| 497 | Identify the adjacent figure | solar cell | solar module | solar array | none of the above
| 498 | 16 The collection efficiency of Flat plate collector can be improved by | putting a selective coating on the plate | evacuating the space above the absorber plate | both (A) and (B) | None of the above
| 499 | To perform irradiance measurement, which of the following is necessary? | Beam response varies with sine of the angle of incidence | Beam response varies linearly with angle of incidence | Beam response is constant with varying angle of incidence | Beam response varies with cosine of the angle of incidence
| 500 | In which collector the efficiency is maximum ___ | Flat Plate | Line Focusing | Evacuated Tube | Paraboloid Dish
| 501 | Which Meter is used to measure the Beam Radiations ____ | Pyrheliometer | Sunshine Recorder | Anemometer | All of the above
| 502 | Why should the beam response vary with cosine of the angle of incidence? | To account for perpendicular and parallel rays | Because cosine is the simplest mathematical function | To account for inclination of earth’s axis | Because of non-uniform dispersion of solar radiation
| 503 | Poly-crystalline cells also known as malty-crystalline cells. | Yes | No | Can be yes or no | Can not say
| 504 | In Solar Panel, which is the top cover and is transparent to allows light to enter? | Non-reflective layer | Contact grid | Back plate | Cover glass
| 505 | The solar radiation range in ultraviolet is about ___ | 4-5% | 3-5% | 0-3% | None of the above
| 506 | The total efficiency of the solar thermal power plant is divided into ____ | Receiver efficiency | Generator efficiency | Both a and b | None of the above
| 507 | ____ comes under the indirect method of solar energy utilization | Water power, wind, wave energy | Marine currents, OTEC | Biomass | All of the above
| 508 | Battery bank shouldn't be installed in a location . | Near PV array | Well ventilated room | Near control room | At high temperature area
| 509 | Photovoltaic cell or solar cell converts........ | Thermal energy into electricity | Electromagnetic radiation directly into electricity | Solar radiation into thermal energy | Solar radiation into kinetic energy
| 510 | Photovoltaic cell or solar cell converts........ | Thermal energy into electricity | Electromagnetic radiation directly into electricity | Solar radiation into thermal energy | Solar radiation into kinetic energy
| 511 | Which of the following area is preferred for solar thermal electric plants? | mountain tops | hot arid zones | coastal areas | high rainfall zones.
| 512 | What does the word photovoltaic mean? | Sun Powered | Light - Cell | Light - Electricity | Solar - Energy
| 513 | In a residential roof-top PV system, which is not taken in to the considiration ? | Nearest transmission grid | Load & load flow analysis | Roof area | Back up Hours
| 514 | Which of the following are combined to form an evacuated flat plate solar collector? | Flat plate solar collectors and evacuated-tube solar collectors | Flat plate solar collectors and bowl collectors | Bowl collectors and evacuated-tube solar collectors | Polymer collectors and bowl collectors
| 515 | Which of the following provides highest energy conversion efficiency in non-concentrating solar collectors? | Flat plate collectors | Evacuated flat plate collectors | Evacuated-tube collectors | Parabolic collectors
| 516 | What is the metal sheet absorber surrounded with in an evacuated flat plate collector? | Low volume inside flat envelope | Low vacuum inside curved envelope | High vacuum inside flat envelope | Low vacuum inside thick curved envelope
| 517 | Why does an evacuated flat plate collector require a glass-metal seal? | To join the glass plate to the rest of metal envelope | To join the glass plate to a part of metal envelope | To disconnect the glass plate to the rest of plastic envelope | To disconnect the glass plate to the rest of metal envelope
| 518 | IEC 61215 is the standard for_____ . | Thinfilm module | Poly crystaline module | Mono crystaline Module | Both B and C
| 519 | PV Module generates electricity in ________ . | AC | DC | As per requirement | None of them
| 520 | SPD is used for ______ . | Over Current Protection | Over Voltage Protection | Surge Protection | Single Pole protection
| 521 | What instrument will you be using to measure the current generated by the solar cell? | pH meter | Photometer | Multimeter | None of them
| 522 | Photodiode works on the principle of _______ | photoelectric effect | LED | thermocouple | differential resistance
| 523 | Which of the following technology does a net radiometer work on? | Semiconductor | Conductor-insulator | Thermopile sensor | Photoelectric effect
| 524 | The solar energy directly used for __ | Drying | Water heating | Distillation | All of the above
| 525 | The Zenith Angle complement is ___ | Surface Azimuth Angle | Slope | Solar Altitude Angle | Solar Azimuth Angle
| 526 | What are the benefits of Rooftop Projects over Ground Mounted Projects? | Can be setup faster | Easier operation & maintenance | Local employment generation | Improvement in tail-end grid voltage
| 527 | The less insolation occurs when the sun is ____ | At night | Low in the sky | High in the sky | None of the above
| 528 | In how many ways we can harness solar energy? | One-way | Two ways | Three ways | Four ways
| 529 | Active solar is directly consumed in activities such as drying clothes and warming of air | Passive solar | Simple solar | Active solar | None of the above
| 530 | Absorption of energy carrying particles in Sun's rays called? | Neutons | Photovoltaic | Cells | Photons
| 531 | In Solar Panel, which is the top cover and is transparent to allows light to enter? | Non-reflective layer | Contact grid | Back plate | Cover glass
| 532 | The crystalline silicon technology gives ____ types of photovoltaic cells. | 1 | 2 | 3 | 4
| 533 | Which of the following provides highest energy conversion efficiency in non-concentrating solar collectors? | Flat plate collectors | Evacuated flat plate collectors | Evacuated-tube collectors | Parabolic collectors
| 534 | Photodiode works on the principle of _______ | photoelectric effect | LED | thermocouple | differential resistance
| 535 | Which of the following technology does a net radiometer work on? | Semiconductor | Conductor-insulator | Thermopile sensor | Photoelectric effect
SGJ/N0106 (Maintain Personal Health & Safety at project site)
| 536 | What is PPE? | Personal Protective Equipment | Personalized Protection Equipment | Protection Person Equipment | Proper Protection Equipment | SGJ/N0106 | 6 | 5 | A
| 537 | What should you do to ensure that correct PPE is used? | Ask supervisor | Identify job requirements | Follow your instincts | It's not possible at all | SGJ/N0106 | 8 | 5 | B
| 538 | When should first-aid kit be available? | If there are risks involved | If risks are not involved | If there is a hazard | All of the above | SGJ/N0106 | 5 | 5 | D
| 539 | What type of hazards can occur at work place? | Environmental hazards | Bilogical hazards | Accidents | All of the above | SGJ/N0106 | 17 | 5 | D
| 540 | What are OHS standards? | Occupational Health and Safety | Office and Home Safety | Official Hours Safety | None of the above | SGJ/N0106 | 1 | 5 | A
| 541 | Which of the following PPE you might have to use at workplace to avoid electrical hazards? | Special clothes | Special Shoes | Both A&B | Metal gloves | SGJ/N0106 | 7 | 4
| 542 | Which one out of the following is a potential safety hazard? | A flat roof with a sound structure | A car parked underneath | The roof is rusted | A small tree shading the roof
| 543 | Which PPE is needed, when working at the hight ? | Safety shoes | Safety belt | Helmet | All of the above
| 544 | What is the risk when connecting batteries together? | The voltage is increasing. | There is current going into the batteries. | Someone might short the terminals | The batteries might fall over
| 545 | The client has recommended a number of locations where the battery could be installed. Which location is the best location for the battery to be installed? | On the verandah in the sun. | In a battery box that is located on the verandah with ventilation inlets and outlet vents on opposite sides and removable lid that could be locked for security reasons | In a box in the bathroom with inlet and outlet vents to the room | Directly under the inverter and controller
| 546 | When lifting a tall wet lead acid battery to the site how should the battery be handled? | With two installers at each end when it is on its side then tipped up. | In an upright position. | Using hooks through the battery terminals. | Carried on the shoulder
| 547 | The minimum voltage rating of a protection device in a PV system must be equal to: | Array Voc at midday on a hottest expected day | 2 x module Vmpp | Array Voc at coldest temperature for the site | Isc x Voc
| 548 | Cables terminated on the flooded lead acid battery banks should be? | Bolted to the battery terminals using suitable lugs with insulation covers over the terminals. | Bare wire wrapped around the terminals and covered in grease. | Run via the shortest route over the filler/inspection caps. | Connected with crocodile /alligator clips for easy disconnection.
| 549 | Series and parallel combination of the solar cell is known as ___ | Solar array | Solar light | Solar sight | Solar eye
| 550 | How should a lead acid battery bank be installed? | In a battery box inside a building with the ventilation outlet at the highest point on the box to the inside of the building... | In a dedicated room with the with the ventilation outlet vented to the outside at the highest point in the room. | In a dedicated room with the with the ventilation outlet vented to the outside at the lowest point in the room | Any of the above
| 551 | A continuity and polarity test shall be performed on the DC system. What should NOT be done when performing this test? | Confirming that all modules that are connected in parallel are connected with the correct polarity. That is positive to positive and negative to negative. | Measuring the continuity between the inverter input positive and negative input terminals to ensure the polarity and voltage are correct. | Confirming that the positive cable of the array connects to the terminal marked solar positive on the solar controller. | Confirming that positive of the battery is connected to the terminal marked battery positive on the solar charge controller
| 552 | On site, your colleague has battery acid in his eyes? | Run away so you don’t get acid on you. | Call for friends | Rinse his eyes with plenty of water. | Call the boss.
| 553 | Cables terminated on the flooded lead acid battery banks should be? | Bolted to the battery terminals using suitable lugs with insulation covers over the terminals. | Bare wire wrapped around the terminals and covered in grease. | Run via the shortest route over the filler/inspection caps. | Connected with crocodile /alligator clips for easy disconnection.
| 554 | Customer should be aware of | Abnormal condition | Operating Procedure | Data logging | All of the above
| 555 | To insure that your PV system will work all the day you should use: | converter | battery | Both A & B | none.
| 556 | Actinometer is primarily used to measure ______ and ______ | infrared and ultraviolet | visible and infrared | visible and ultraviolet | infrared and UV-A
| 557 | When a system is being installed or being maintained in a school, what should a company ensure NEVER happens when away from the site? | Fence off the work area. | Have warning signs | Lock the battery room door. | Let the students use the power tools.
| 558 | A solar roof constructed on a building uses water stored ______ to temper hot and cold internal temperatures of the building. | on building roofs | on building walls | beneath building floors | on an auxiliary building
| 559 | What is the risk when connecting batteries together? | The voltage is increasing. | There is current going into the batteries. | Someone might short the terminals | The batteries might fall over
| 560 | Grounding is required for ______ . | Equipments safety | Operators safety | System safety | All of the above
| 561 | From the sun the solar energy is radiated in the form of _____ waves | Electromagnetic waves | Infrared waves | Transverse waves | None of the above
| 562 | When installing a solar module on a roof, things to be considered are? | Obstructions on the roof. | The condition of the roof. | Far shading. | All of the above.
| 563 | When lifting a tall wet lead acid battery to the site how should the battery be handled? | With two installers at each end when it is on its side then tipped up. | In an upright position. | Using hooks through the battery terminals. | Carried on the shoulder
| 564 | Which of these is the best material for eathing ? | Silver | Copper | GI | Iron
| 565 | The system is 24 V DC with a standard solar charge controller. Which of the following is NOT what you do first when disconnecting the system for maintenance purposes? | Turn off the AC isolator on the inverter | Undo the cable connection to the battery positive or battery negative terminal first. | Turn off the loads in the house | Turn off or open the PV array isolating device
| 566 | A continuity and polarity test shall be performed on the DC system. What should NOT be done when performing this test? | Confirming that all modules that are connected in parallel are connected with the correct polarity. That is positive to positive and negative to negative. | Measuring the continuity between the inverter input positive and negative input terminals to ensure the polarity and voltage are correct. | Confirming that the positive cable of the array connects to the terminal marked solar positive on the solar controller. | Confirming that positive of the battery is connected to the terminal marked battery positive on the solar charge controller
| 567 | Grounding is required for ______ . | Equipments safety | Operators safety | System safety | All of the above
| 568 | SOP stands for _____ . | Set Of Precaution | Standard Of Protection | Standard Operating Procedure | Set Of Procedure
| 569 | Cables terminated on the flooded lead acid battery banks should be? | Bolted to the battery terminals using suitable lugs with insulation covers over the terminals. | Bare wire wrapped around the terminals and covered in grease. | Run via the shortest route over the filler/inspection caps. | Connected with crocodile /alligator clips for easy disconnection.
| 570 | The system you are installing includes an MPPT and the solar array will comprise five (5) 60 cell solar modules in series. Each solar module has an open circuit voltage of 35V and short circuit current of 7A. What is the electrical danger with this system? | There are 5 modules that must be lifted onto the roof. | The MPPT must be wired correctly | The solar array is rated at 175V DC open circuit and hence LV | The MPPT must be connected to a battery bank
| 571 | What instrument will you be using to measure the current generated by the solar cell? | pH meter | Photometer | Multimeter | None of them
| 572 | In battery bank room construction, which is taken in to the priority ? | Dust free area | Ventilation | Cleanness | All of the above
| 573 | 5-Which type of solar cells is more efficient in low lights: | AMORPHOUS | POLYCRYSTALLINE | MONOCRYSTALLINE. | None of them
| 574 | SOP stands for _____ . | Set Of Precaution | Standard Of Protection | Standard Operating Procedure | Set Of Procedure
| 575 | Grounding is required for ______ . | Equipments safety | Operators safety | System safety | All of the above
| 576 | Which renewable energy do you think has the most extensive scope to be successfully implemented across the globe by 2030? | Wind Power | Hydro Power | Solar Energy | Tidal Power
| 577 | The system is 24 V DC with a standard solar charge controller. Which of the following is NOT what you do first when disconnecting the system for maintenance purposes? | Turn off the AC isolator on the inverter | Undo the cable connection to the battery positive or battery negative terminal first. | Turn off the loads in the house | Turn off or open the PV array isolating device
| 578 | Which of the following is generally used to measure direct solar radiation? | Which of the following is generally used to measure direct solar radiation? | Which of the following is generally used to measure direct solar radiation? | Which of the following is generally used to measure direct solar radiation? | Which of the following is generally used to measure direct solar radiation?
| 579 | How important is it for your organization to contribute towards clean energy by investing in renewable sources such as solar? | Very Important | Slightly Important | Neutral | Low importance
| 580 | What is the risk when connecting batteries together? | The voltage is increasing. | There is current going into the batteries. | Someone might short the terminals | The batteries might fall over
| 581 | An example of building with a passive solar design is a _____. | Aquarium | Greenhouse | Fossil fuel power plant | A home with solar panels on the roof
| 582 | ____ comes under the indirect method of solar energy utilization | Water power, wind, wave energy | Marine currents, OTEC | Biomass | All of the above
| 583 | A continuity and polarity test shall be performed on the DC system. What should NOT be done when performing this test? | Confirming that all modules that are connected in parallel are connected with the correct polarity. That is positive to positive and negative to negative. | Measuring the continuity between the inverter input positive and negative input terminals to ensure the polarity and voltage are correct. | Confirming that the positive cable of the array connects to the terminal marked solar positive on the solar controller. | Confirming that positive of the battery is connected to the terminal marked battery positive on the solar charge controller
| 584 | What is the main difference between pyranometer and pyrheliometer? | Both measure solar radiation | Pyranometer measures global radiation while pyrheliometer measures direct solar radiation | Pyranometer and pyrheliometer measure global radiation | Pyranometer measures solar radiation while pyrheliometer measures global radiation
| 585 | What are the components of a flat plate collector? | Flat box, a plate with reflective coating and fluid circulation passageways, an opaque cover, a circulating fluid | Flat box, a dark coloured plate with fluid circulation passageways, an opaque, a circulating fluid | Flat box, a dark coloured plate with fluid circulation passageways, a transparent cover | Flat box, a dark coloured plate fluid circulation passageways, a transparent cover, a circulating fluid
| 586 | Why is a transparent cover used in a flat plate collector? | To maximize transmission of the incident sunlight into the box | To minimize transmission of the incident sunlight into the box | To entirely reflect the incident sunlight back | To ensure partial transmission of the incident sunlight into the box
| 587 | Grounding is required for ______ . | Equipments safety | Operators safety | System safety | All of the above
| 588 | In battery bank room construction, which is taken in to the priority ? | Dust free area | Ventilation | Cleanness | All of the above
| 589 | Which of the following area is preferred for solar thermal electric plants? | mountain tops | hot arid zones | coastal areas | high rainfall zones.
| 590 | What does the word photovoltaic mean? | Sun Powered | Light - Cell | Light - Electricity | Solar - Energy
| 591 | Which type of solar cell gives the highest efficiency? | Mono crystalline | Polycrystalline germanium | Thin film | Polycrystalline silicon
| 592 | Which of the following is NOT one of the fiel of application of photoelectric cell? | Street lightning | Reproduction of light in motion picture | Burglar arms | Counting machines.
| 593 | Which of the following is a commonly used material in solar cells? | Alunimium | Germanium | Silicon | Copper
| 594 | What is the fundamental unit of solar time? | Seconds | Day | Hour | Meter
| 595 | In 5 years, in which renewable energy is your organization most likely to invest? | Wind Power | Solar Energy | Hydro Power | Biomass
| 596 | Which renewable energy do you think has the most extensive scope to be successfully implemented across the globe by 2030? | Wind Power | Hydro Power | Solar Energy | Tidal Power
| 597 | How important is it for your organization to contribute towards clean energy by investing in renewable sources such as solar? | Very Important | Slightly Important | Neutral | Low importance
| 598 | The less insolation occurs when the sun is ____ | At night | Low in the sky | High in the sky | None of the above
| 599 | Absorption of energy carrying particles in Sun's rays called? | Neutons | Photovoltaic | Cells | Photons
| 600 | In how many ways we can harness solar energy? | One-way | Two ways | Three ways | Four ways
| 601 | Photodiode works on the principle of _______ | photoelectric effect | LED | thermocouple | differential resistance
| 602 | How important is it for your organization to contribute towards clean energy by investing in renewable sources such as solar? | Very Important | Slightly Important | Neutral | Low importance |  |  |  | C

## Viva
National Skill Development Council
SET-1 : Solar PV Installer - Electrical
Center Name : |  |  | Student Name :
Date : |  |  | Enrollment No:
Time Allowed : 60 minutes |  | Total Marks :53 |  | Marks Obtained :
SGJ/N0101 | Max Marks | Marks Obtained
1.Why it is important to assess the site conditions before installing solar PV system? | 3
2.Explain how will you identify load to be connected to solar PV system? | 3
Total | 6
ELE/N5903 | Max Marks | Marks Obtained
3.List the things that you should keep in mind or consider when installing conduits and cables? | 7
4.How will you get the grounding systems installed. Mention all the steps involved. | 7
5. Why you should be extremely careful when installing battery bank? Explain the whole process and the risks involved. | 7
Total | 21
SGJ/N0103 | Max Marks | Marks Obtained
6. What are the different issues that you may observe after testing the system? | 5
7. What is anti-islanding performance? Explain in detail. | 5
8. List any three defects that you may observe during tests of the solar PV system, also mention how to remove such defects? | 5
Total | 15
SGJ/N0104 | Max Marks | Marks Obtained
9. What are the different measures that one should take to ensure safety when working at height? | 5
10Explain how not following company's policies could lead to hazard. Also, mention 5 PPEs that can be used at worksite/workplace. | 6
Total | 11

## Demo
National Skill Development Council
SET-1: Solar PV Installer - Electrical
Centre Name :
Date :
Time Allowed: 60 Min. |  | Total Marks :59
Synod. | Question | CHECK Points | NOS | Marks
1 | How will you conduct site survey for installation of solar PV systems? What are the different things you need to consider and ensure? | 1.Understand the location of installations and optimize the route plan 2. Assess the site level pre-requisites for solar panel installation 3. Check for any shading obstacles 4. Decide on the type of mounting to be constructed 5. Inform the customer for any civil construction to be undertaken for installing the panels 6. Prepare a site map of the location where installation has to be carried out A candidate is required to mention at least 5-6 aspects of carrying out site survey for PV installation to get full marks. | SGJ/N0101 | 8
2 | How will you install electrical components of a PV system? List all the steps involved. | 1. Select the location of DC combiner box 2. Install DC combiner box along with disconnect protections 3. Install DC energy meters 4. Confirm battery bank location and Install batteries. 5. Prepare battery terminals and Install battery interconnection cables. 6. Terminate fine stranded cables. 7. Test final assembled battery polarity and voltage. 8. Install charge controller (if required) 9. Install inverter 10. Install utility required disconnects 11. Install AC combiner box 12. Connect the solar system to the Distribution box or Transformer. A solar PV installer should be aware of all the electrical components and should also have ability to install these electrical components. The assessor can mark the candidate on the basis of their answer or they can also ask them to demonstrate the installation procedure. | SGJ/N0104 | 30
3 | What are the different tests that you must perform or things you need to ensure before passing the solar PV system on quality grounds? | 1.Perform visual inspection. 2. Inspect mechanical, civil and electrical installation components. 3. Verify system grounding and measure insulation resistance 4. Check continuity of the system and Verify polarity. 5. Measure DC voltages and currents for each string and array for proper operation of the system 6. Verify inverter operation including anti-islanding performance and measure AC system values. 7. Verify calibration of Data Acquisition System. 8. Verify workmanship and demonstrate proficiency in using tools 9. Preparation of the Inspection report and take appropriate action The candidate must be aware about different tests that a solar PV system must pass to achieve quality standards. | SGJ/N0105 | 11
4 | List any 5 hazards or give 5 examples of hazards that can occur while installing solar PV system and also mention how to avoid each hazard. | The assessor can mark a candidate on the basis of their awareness about hazards and ability to avoid and minimize the same. | SGJ/N0106 | 10